[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




          - CE FILE

Introduction:

All Medical products require a CE mark and an accompanying Technical file

Each product has its own unique file

Viamed CE files all take the same format:

Red Binder sectioned A-Z.

Red ducket for current un-filed data

Intrastats CE Files 

Paperport Documentation centre

Red Binders:

These binders are sectioned A-Z where each letter is a major subject or group of associated subjects  The sections are sub-sectioned to reduce the number of documents in any single section.

Over time more subsections can be added. 

e.g. 

[D]   Classification

D1 product classification 

D2 Device classification rules

D3 Flow charts

D4  EMC classification

Red Duckets.

Vast quantities of information mainly during the design phase are received sometimes with no obvious specific designated area. 

These documents are held in a Red ducket.  These duckets are also used for product development ideas prior to adoption.

Supplier files also contain hard copies of technical correspondence.

With the advent of email this correspondence and meeting minutes are also held in “Goldmine”, an electronic filing and contact system. When it is felt necessary hard copies are made and kept in the project or CE file

Written procedures are compiled in Word documents or Open office

Current location path is Drive  S: CEMARK / Product Name / Document

This can be located with a normal Windows search.

Paperport

All hard copy documents are scanned into “Paperport”, an electronic document filing system. All Word, Word pro documents, and “Goldmine” documents are printed into paperport.

Non-Viamed products have CE files/Technical  where possible and OEM’s are encouraged to supply as much information as possible, which is scanned into Paperport as well as hard copy.

(A1) Preliminary Outline Master.doc                   14/11/2006                               Page 1 of 1                                                                          



[image: image1.jpg][image: image2.png]