New Medical Equipment or Product Information Form

For completion by Supplier/Representative to enable informed discussion at GOSH Medical Equipment & Supplies Group (MESG)

(Please ensure completion of all sections)

| Device Name – MAXO2 ME Oxygen Monitor |  | Supplier – Viamed Ltd. | GOSH Contact details - |  |
| --- | --- | --- | --- | --- |
| PRODUCT OVERVIEW |  |  |  |  |
|  | Product Details Please include - Relevant function, product codes and/sizes - Product brochure - Instructions for Use document/manual (IFU) - Specific storage instructions if required - Manufactures intended purpose for use. |  |  | 0111263 MAXO2 ME Oxygen Monitor. Information requested included in attachments. |
|  | Details of manufacturer and supplier/distributor Is this a new supplier to GOSH? |  |  | Manufactured by Maxtec, Supplied by Viamed Ltd. (existing supplier to GOSH) |
|  | Does the device/product contain latex? - Console / equipment / probe etc? - Consumables? - If latex present, is a latex free alternative available? |  |  | No |
|  | Does the device/product contain any elements which are known to cause allergies? - For example, but not limited to – - Gluten, Peanut, Egg or Dairy, Animal by-products, Human Cells or Tissue, Shellfish or Fish by-products - If yes, please provide details |  |  | No |
|  | Is the device/product single use or reusable? - If reusable, please provide documentation regarding cleaning &/or sterilisation instructions as appropriate. - Please ensure to include cleaning instructions for all elements (including console). - Confirmation if the following products suitable for use? Clinell Universal Wipes, Clinell Clorox, Chlor-clean. |  |  | Reusable, information included in user manual |
|  | Are there consumables or other requirements needed for the product/equipment? - If yes, please provide details of consumables required including cost, range etc. - Specific storage requirements etc? |  |  | No |
|  | Are there any additional instruments or other items required for use? - If yes, please provide details of instrumentation required including cost, range etc. |  |  | No |
|  | Is the product/equipment CE or UKCA marked? If yes, please provide details noting changes to Government Regulation requirements. If no, please provide details as to why this is not required. |  |  | CE |
|  | Is the product/device registered as a medical device? Please provide details of Directive as appropriate. |  |  | Yes |
|  | How long has the product been available for sale within the UK market? |  |  | Since 2016 |
|  | Is the product/equipment licenced for use in Paediatrics? |  |  | Yes |
|  | Is the product/equipment used within other Paediatric trusts in the UK? Please provide details if possible |  |  | Yes, The Portland Hospital, Chelsea & Westminster Hospital |
|  | Will the product/device be used in the community? If yes, please provide details as appropriate. |  |  | Unknown |
|  | Details of any known adverse events/outcomes and risks associated with the product/equipment. Include details of any contraindications. |  |  | n/a |
|  | Are there any published clinical papers to support the product/equipment? (please provide copy of documents) |  |  | Unknown |
| INFORMATION GOVERNANCE & ICT |  |  |  |  |
|  | Does the device have the ability to capture images and/or patient data? - Is the device Wifi compatible? - If yes, is the device compatible with EPIC (electronic patient data system)? - How will the data be downloaded & stored? |  |  | No |
|  | If yes, please provide details of the following – Details of data set that will be processed through Cardiovit |  |  | n/a |
|  | Will there be any personal data and/or pseudonymised data and/or anonymised data? |  |  | No |
|  | Will any data processing (including access, transfer and storage) occur outside the UK? |  |  | No |
|  | Details of data flow, i.e. what data will go where/be accessible by whom (including 3rd parties and sub-processors) |  |  | No |
|  | Is it intended that data gathered will be shared with the supplier/manufacturer? If yes, please detail how this data will be used |  |  | No |
|  | Confirmation there are no ongoing costs for software or licensing. |  |  | None |
| USE OF THE PRODUCT AT GOSH |  |  |  |  |
|  | What will be the use/requirement of the product at GOSH? (eg. Specific conditions or situations) Is this a new procedure to GOSH? |  |  | TBC GOSH |
|  | What areas will use the product/equipment? (this is to ensure standardisation where possible across the trust) |  |  | TBC GOSH |
|  | Will this require new surgical techniques or other? |  |  | TBC GOSH |
|  | Are there any specific post-op/post-use cares required for the patient? |  |  | TBC GOSH |
|  | What are the benefits for GOSH of using the product/equipment? |  |  | TBC GOSH |
|  | Will any other teams require consultation & communication? E.g. Estates & facilities, TVN, Manual Handling, Resus etc e.g. If equipment, - Consider size of equipment - Weight of equipment - Location where equipment will be used, can the floor support the weight? - If equipment will be moved around the Trust, will it fit into the lifts? Are the doors wide enough? |  |  | TBC GOSH |
| COSTINGS & SUPPLY OPTIONS |  |  |  |  |
|  | What is the cost of the product/equipment? (inc. or ex. VAT) Please include costing details of console & consumables as appropriate Please include details of spare parts as appropriate. |  |  | £604.00 ex VAT Price list attached |
|  | Details of delivery options and costs |  |  | £12.00 UPS up to 20 units |
|  | What is the lead time for products/equipment? |  |  | Stock dependant, currently 1-3 working days |
|  | What is the route of supply for the product/equipment? |  |  | Direct Purchase Viamed |
|  | Is the product/equipment available via a framework? |  |  | None |
|  | Is there an option for consignment or sale/return of consumables/implants/instruments? |  |  | Sale or Return available for 1 unit. |

| MAINTENANCE & DISPOSAL |  |  |
| --- | --- | --- |
|  | What is the lifespan of the product/equipment? | 7 years |
|  | Please provide details of how the product/equipment is powered? Please include details of battery life, recharging, securement of battery cover etc as appropriate. | 4 x AA alkaline batteries |
|  | Details of appropriate disposal route. What is the environmental impact of equipment disposal? | Device: WEEE Sensor: Oxygen Disposal Service Viamed. |
|  | Are there servicing or maintenance costs associated with maintaining the product/equipment? | £45.00 plus £12.00 return carriage from Viamed |
|  | Can GOSH Biomedical Engineering be trained to undertake any maintenance, service or repairs? | Yes, included in user manual |
| ENVIRONMENTAL IMPACT & SUSTAINABILITY |  |  |
|  | Details of Environmental impact during manufacture and product use | Unknown |
|  | Details of Environmental impact of disposal of consumables | n/a |
|  | How is the manufacturer/supplier working to be an Environmentally sustainable partner? | See attachments, environmental policy and WEEE registration |
| EVALUATION AND TRAINING |  |  |
|  | Is the supplier willing to support the evaluation with FOC products/loan? Please provide details of time period and items included in evaluation. | Sale or Return Terms and Conditions Included |
|  | What are the training requirements associated with product/equipment? Including – - New surgical techniques? - Device use? - Post-op cares? | User Manuals |
|  | What groups of staff need to be trained for this product/equipment? - Consider - if equipment, will it be moved? - E.g. Does it require manual handling input and education? | TBC GOSH |
|  | Is the supplier able to supply education & training along with materials if required? | No |
|  | Is the supplier able to provide specialist support on site if required during evaluation? - Please Note – GOSH require registration via www.miaweb.co.uk prior to site visit. - Standards of professional code of conduct are expected to be maintained if visiting GOSH premises. | Unavailable |
|  | Is an evaluation form available? If so, please attach | No |
|  | How many patients are proposed to be included in the evaluation? | Unknown |
|  | What is the proposed time frame of the evaluation period? | 30 days for Sale or Return |
| OTHER |  |  |
|  | Declare any details of conflict of interest | None |
|  | Declare any details of Gifts, Hospitality or Sponsorship provided | None |
|  | Declare any Ethical issues for the Trust or wider community | None |

Completed by

Signature: S Hardaker   Print Name: S Hardaker   Date: 18/01/2023

Company Details: Viamed Ltd., 15 Station Road, Cross Hills, Keighley, BD20 7DT – 01535 634542