
	RISK ASSESSMENT
	CCR / QIR No.
	

	
	Date:
	

	Customer:
	
	P.O.
	

	File No.:
	
	Invoice:
	

	Address:
	
	
	

	Product:
	
	Despatched:
	

	Serial No.(s):
	
	
	

	Manufacturer / Supplier
	
	
	

	
	Possibility

1-4
	Probability

1-4
	Risk

1-16

	Is the problem likely to occur on other units
	
	
	

	1. Mechanical

	1.1 Can anything fall on patient or user
	
	
	

	1.2 Can anything trap the patient or user
	
	
	

	1.3 Can the patient fall off
	
	
	

	2. Electrical



	2.2 Is the product electrically hazardous
	
	
	

	2.3 Is the fault a design fault
	
	
	

	2.4 Is the fault outside of normal wear and tear
	
	
	

	2.5 Is the fault due to user misuse caused by inadequate instructions and / or training
	
	
	

	3. Heat



	3.1 Is excessive temperature likely to come into contact with the patient
	
	
	

	3.2 Is excessive temperature likely to come into contact with the operator
	
	
	

	4. Compliance

	4.1 Does the device fail to comply with ANY relevant standards
	
	
	

	Summary:

	Signed:
	Date:
	
	

	Informed?MDA  CMDCAS

BSI 
	Yes / No               

Yes / No

Yes / No
	
	
	QC 44


4755.doc       28/03/2012        Page 1 of 1

