Declaration of Conformity. / Class I Medical Device(s).

Manufacturer:			Viamed Limited. / 15 Station Road, / Cross Hills, / Keighley, / West Yorkshire, / BD20 7DT. / United Kingdom.

Device(s): Heat Shields			PP81xx

Description of Device(s):			Simple tunnel to restrict heat loss. Available with and without feet ends.

It is hereby declared that the medical device(s) specified above is (are) in compliance with EC Council Directive 93/42/EEC (Medical Device Directive) of 14th June 1993 considering the amendments by the directive 2007/47/EC as transposed into National Law in the countries where the product is intended to be marketed. / This declaration is supported by: / Technical documentation required by the MDD (Annex II) retained by: Viamed Limited. / EC Quality Assurance Certificate No. CE 01389, first issued by the British Standards Institute (CE0086) on the 23rd August 1996. / Certificate of Registration No. FS28344 to BS EN ISO 9001:2008 of original registration date 15th June 1994, issued by the British Standards Institute (CE0086).
	Signed: …………………..…………… / Position: Managing Director.				Date: ……/….../……