[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                Equipment Safety Classification                                 VN202/VN202 mkII


	1
	Power Source:
	
	Mains operated                            Specify voltage range and frequency

                                                     Specify rated input power/current
	N/A

	
	
	
	
	

	
	
	
	Equipment electric  power source
	N

	
	
	
	Equipment supplied from a specified power source
	N

	2
	Type of protection against

electric shock:
	
	Class I Mains supplied equipment using a protective earth
	N/a

	
	
	
	Class II  Mains supplied equipment without a protective earth (double insulated)
	N/a

	
	
	
	Internally powered equipment
	Yes

	3
	Mode of operation:
	
	Continuous - equipment may be left switched on indefinitely
	Yes

	
	
	
	Short time - equipment may only be used for defined time followed by long cooling period
	N/a

	
	
	
	 Intermittent - equipment may only be used for a defined time followed by defined rest period -

                                                                                                                 define the duty cycle
	N/a

	
	
	
	Continuous with short time loading
	N/a

	
	
	
	Continuous with intermittent loading -                                                   define the duty cycle
	N/a

	4
	Degree of protection: against ingress of liquids:
	
	Not protected
	

	
	
	
	Drip proof - protected against dripping water
	

	
	
	
	Splash proof - protected against splashing water
	Y

	
	
	
	Watertight - protected against total submersion
	

	5
	Degree of mobility:
	
	Fixed - equipment secured in a specified location
	N

	
	
	
	Permanently installed - equipment that is electrically connected by permanent means
	N

	
	
	
	Transportable - equipment which may be moved from one location to another between periods of use
	Y

	
	
	
	 Mobile - equipment intended to be moved from one location to another on its own wheels or similar
	Y

	
	
	
	Portable - equipment intended to be moved from one location to another by being carried
	Y

	
	
	
	Hand-Hand held - equipment supported by hand during normal use
	Y

	6
	 Degree of protection against electric shock:
	
	Type B - equipment without an Applied Part or with an Applied Part not designed to meet F type (Floating) requirements
	N/a

	
	
	
	Type BF - equipment with an F-Type Applied Part
	N/a

	
	
	
	Type CF - equipment with an F-Type Applied Part having a higher degree of protection than for Type BF equipment and primarily intended for direct cardiac application
	N/a

	7
	Degree of protection against flammable anaesthetic mixtures:
	
	Not protected - not suitable for use with flammable gases
	Y

	
	
	
	 AP - designed to avoid sources of ignition within 5cm to 25cm of enclosure
	N

	
	
	
	APG - designed to avoid sources of ignition within 5cm of enclosure including patient's respiratory tract
	N

	
	Documentation available
	
	Operators Manual
	Y

	
	
	
	Service Manual
	Y

	
	
	
	Circuit Diagrams
	Y


Classified By:-   J .S. Lamb

Date 34/07/12

Based on Form No 459(2)-5904

VN202 Oxygen analyser safety Classification rationale.doc                               24/07/2012
                                                     Page 2



[image: image1.jpg][image: image2.png]