Project 1   CO2 Breakthrough


Objective

Mounting a sensor on the outlet of the scrubber should allow the detection of minute levels of CO2. The sensors are especially sensitive at ppm. The critical limit will be the stability and calibration. The current sensor appears to be applicable in this application.

It is suggested we start with a traffic light system


Specification


1- 4MB               =   Green

5MB – 9 Bar      =   Orange

10Mb                 =    Red

Requirements

Mount in the standard holder

Electronics 5v-12v  external  DC supply

Drive circuits

LED indicators with provision to mount remote

	Actions
	Jan
	Feb
	Mar
	April
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec
	Jan
	Feb
	Mar
	Apr

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Final sensor
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Electronics
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Final configuration
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Vandagraph Tests
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Manufacturers Prototyping
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Manufacturers Tests
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Orders
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	



