Project  2   Oxygen content


Objective

EN1413 dictates that the gas inhaled by a diver should be within +/- 0.1 Bar of the set point.


Specification


Sensor calibrated in air or 100% oxygen measures oxygen accurately preferably +/- 0.1%  or +/- 1% FSD

Accuracy over the range 0.5Bar – 2Bar oxygen

Requirements

Mount in the standard holder

Electronics 5v-12v  external  DC supply

Drive circuits

Analogue or digital readout 

	Actions
	Jan
	Feb
	Mar
	April
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec
	Jan
	Feb
	Mar
	Apr

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Final sensor
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Electronics
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Final configuration
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Vandagraph Tests
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Manufacturers Prototyping
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Manufacturers Tests
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Orders
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	



