Competency Assessment Questions – Ceratherm Radiant Warmers

Please please refer to any system resources that you have access to in order to locate the information. The training materials will be made available on the system.

If you are unable to find the information, please make notes at the end of this document detailing where you struggled.

1) What is the minimum clearance distance required from the underside of the warmer head unit to the patient surface?

2) What percentage power output is the safety power setting?

3) How long a period from the last key-press will the safety alarm sound?

4) What is the part number of the radiant warmer with mobile floor stand?

5) Does the Ceratherm employ manual or automatic temperature control?

6) What is the wattage of the heating element?

7) What type of radiation does the heating element emit?

8) What is the length in seconds of the ‘duty cycle’ that controls the heat output, shown by the LED heating indicator?

Notes or Comments:

Name: _____________________________ Date: _____________________