[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




MICROSTIM DBS_Mk3 – CE FILE 

Packaging Trial & Validation

The following should be checked:
· The unit being sent is to the specification as detailed on the official order.

· The instructions for use are included.

Packaging:

· Use one purpose made Cardboard box

· Pack the leads and the battery into the base of the box.

· Pack the instrument into the centre compartment of the box.

· Pack the “Instructions for Use” into the top of the box.

· Place in a cardboard box with airbags surrounding – applied with use of the Specific airbag machine – (Cell-O-Ez – Air Cushion Machine).

· Alternatively, for small orders they should be despatched in Jiffy bags

Postage:

· For single and multiple orders – Despatch is via an applicable courier with adequate insurance.
· Jiffy bagged product can be sent either by courier or by Post

· Alternative Delivery is via a Hospital visit by a Sales Representative.

T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\M. Packaging\Information\M. Packaging Trial & Validation_Microstim.doc


03/06/2004                                                                                                                                             Page 1



[image: image1.jpg][image: image2.png]