	Lighting tube/bulb replacement schedule
                                                                                                                                                                                                      

	Location


	Description
	Qty
	Total
	Replaced
	Replacement

frequency

	Entrance
	GU10
	4
	4
	
	When faulty

	Kitchen
	Single 5ft, 58W865
	1
	1
	
	When faulty

	Toilet – M
	1 x 60W
	2
	2
	
	When faulty

	Toilet - F
	1 x 60W
	2
	2
	
	When faulty

	Main office
	Double 5ft, 58W865
	10
	20
	
	12 months

	Goods out
	Double 5ft, 58W865
	6
	12
	
	12 months

	John’s room
	Double 5ft, 58W865
	2
	4
	
	24 months

	Jean room
	Double 5ft, 58W865
	2
	4
	
	24 months

	Electronics lab
	Single 5ft, 58W865
	6
	6
	21-0709
	24 months

	Helens room
	Quad 2ft
	2
	8
	
	12 months

	Stock room - 4
	Quad 2ft
	4
	16
	
	24 months

	Stairs
	Single R80/75
	2
	2
	
	When faulty

	Stock room - 5
	Double 26WFSO
	4
	8
	
	36 months

	
	Double 5ft, 58W865
	1
	2
	26-11-10
	36 months

	Stock room
	Double 5ft, 58W865
	4
	8
	
	36 months

	Repairs
	Single 5ft, 58W865
	4
	4
	
	12 months

	Rear workshop area
	Single 5ft, 58W865
	8
	8
	
	36 months

	Archive
	Double 5ft, 58W865
	6
	12
	26-11-10
	36 months

	Toilet
	1 x 60W
	1
	1
	
	When faulty


