[image: image1.jpg]


VANDAGRAPH

          
Mixcheck Battery holder construction
VM3/COP/40.70

Revision Date: 30-Sep-13
	
	
	


Issue: 1



	Parts Required


CPC battery Holder BT03721  or Farnell 118310

Farnell Molex 3 way header  143-127

Farnell Crimp Pin x2    977 3789

793007 Battery lead

	Method


1. Add crimps to Red & Black wires of the battery lead 793007
2. Insert crimps into 3 way header observe correct polarity 
12876.doc     9/30/2013                             Page 1 of 1

