Description of use NeoMask


The NeoMask is a band that circumnavigates the Neonates head and contains a filter/shield element that prevents dangerous wavelengths of light entering the neonates eyes..

It not meant to be a bandage.

It is available in three sizes. Large. Medium. & Small

Each mask has optimum circumferences and is fully adjustable within those circumferences.

Adequate instructions are given on the packaging.

J.S.Lamb

15/10/2013

