Viamed NeoMask  Product Life 

This product has been designed to be used short term. This normally means 4-6 hours in practice.

It is also designated as single patient use.

In some cases extended use may be appropriate and the mask is strong enough.

However it will stretch over time( 12hours + ) losing its elasticity and will need replacing.

See Instruction leaflet.

J.S. Lamb

23/10/13

