Standard 62304 Software validation on this product has not been completed,

The Final product has 2 – 2 way switches,
 The Final QA Tests all combinations,
 4 Possible Inputs,
 And 700 possible Outputs.

As a result the is no requirement to fully comply with 62304 as the possible number of combinations of inputs and outputs are limited