Flowsensors Introduction Training
What are Flowsensors?

Flowsensors are used to measure the gas or air flow in the use of anaesthesia and ventilation equipment.
Viamed currently supply the following types of Flowsensors:
1. [image: image1.jpg]


Hot wire anemometric flow sensor, for measuring gas flow in Dräger anaesthesia and ventilation equipment:


Part Number: 4310001 has now been superseded by 4310007 compatible to the original 
Dräger Spirolog REF 8403735-06.
Part Number: 4310002 will be superseded by 4310008 is compatible to the original 
Dräger Spirolog - REF 8403735-06 and Spirolife -
REF MK01900.
The above are for use with the following equipment:
Anemone, Apollo, AV1, Cato, Cicero, Dura, Eva, Evita, Evita 4, Evita XL, Fabius GS, Julian, PM8030, PM8035, PM8050, PM8060, Primus, Savina, Sulla.
Flowsensor A and APC (Box of 5)
These are identical in appearance, they are for use with Dräger equipment and are direct compatibles to the Dräger original. The difference between these is the cleaning instructions.
Flowsensor A – can be disinfected by immersion, specifics regarding solutions is noted in the instruction for use.

Flowsensor A(PC) – can be autoclaved up to 100 cycles, in a 135 deg autoclave. However, they are not suitable for use in all types of autoclave, the ones with a cleaning function can damage the sensor wires.
2. [image: image2.jpg]


Single patient use flow sensor used to measure the airflow in the breathing system of the patient for use with Hamilton ventilators.
Part Number: 4310003 has now been superseded by 4310009 compatible to the original Hamilton Flow sensor – REF 279331. 
The above is for use with the following equipment:
Aladdin, Amadeus, Arabella, C1, C2, Galileo, H72 VR1, H7200, MR1, Raphael, S1, T1, Veolar.
Flowsensor H (Box of 6)
These are single-use and cannot cleaned or autoclaved. 
Other Flowsensors In Development
Bluepoint Medical are currently in the process of developing a Neonatal Flowsensor. This is listed in Intrastats under 4310004-6. Information on these will be provided when they are ready for market.
Shipping
Shipping within the UK is free of charge.
Pricing 
Pricing can be found on Intrastats, under the “£” symbol. There are also downloadable PDFs against the “£” or in the “i” section. There are no quantity discounts currently available for end user pricing, they are available when purchased by our distributors.
Certifications
Should you require to find information on what certifications a product has please see the stock screen, “i” icon and find the “Certificates” option. Click this and it will open the document index and all related certificates for that line.
Marketing Materials
Up to date copies of marketing materials such as leaflets, manuals and price lists (or in the £ screen) can be found on the stock pages under the “i” icon.
Cross Reference
Cross-reference can be found in Intrastats, dropdown menu, cross-references, select group “flowsensors”.
