	Declaration of Conformity.



	Manufacturer:           
	
	Vandagraph Limited.

15 Station Road, 

Cross Hills,

Keighley,

West Yorkshire,

BD20 7DT.

United Kingdom.


	
	
	

	Device(s):
	
	Argonaught

	Type of Equipment
	
	Oxygen analyser no alarms

	Description of Device(s):
	
	Digital readout instrument  0-100%

	
	
	Input sensor Galvanic Oxygen Sensor  0-100%

Accuracy +/- 1.0% FSD

	It is hereby declared that the medical device specified above is in compliance with 

· BE EN 60601-1-2: 2007

· This supported by Technical documentation retained by Vandagraph Ltd.

· Test certificate WT118000614    07/04/2011



	
	Signed:     …………………..……………

Position: Managing Director.

	
	Date: ……/….../……
	


