	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



	GBP DISTRIBUTOR PRICE LIST
AX300 Oxygen Analyser &

MX300 Oxygen Monitor 


	
	
	
	
	

	Part number
	Model number
	Description
	Price £

	0111230
	AX300
	Oxygen analyser, without adjustable alarms.

3½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	£194.65

	0111232
	AX300 
Includes.optional:

RS232 output.
	Oxygen analyser, without adjustable alarms

3½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: RS232

Includes sensor and standard accessories.


	£211.22

	0111233
	AX300
Includes optional: 
2½ digit LCD.

	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories.


	£211.22

	0111234
	AX300
Includes optional:
RS232 output.

2½ digit LCD.

	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: RS232

Includes sensor and standard accessories.


	£227.79


	Part Number
	Model Number
	Description
	Price £

	0111235
	MX300
	Oxygen monitor, with alarms

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	£310.25

	0111237
	MX300
Includes.optional:

RS232 output.
	Oxygen monitor, with alarms

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	£326.82

	0111238
	MX300
Includes optional: 
2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories.


	£326.82

	0111239
	MX300
Includes optional:
RS232 output.

2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	£343.39


Optional Accessories & Consumables
	Part Number
	Model Number
	Description
	Price £

	0110017
	C43690
	Oxygen sensor, R17MED
	£34.00

	0120099
	B-50057
	Oxygen sensor flow diverter
	£4.25

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D. 
	£2.12

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	£2.97

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	£2.97

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.
	£1.27

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet
	£3.61

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	£1.09

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	£1.16

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered)
	£0.96

	0121180
	
	‘V’ Mount Wall Plate
	£8.40

	0121181
	
	‘V’ Mount Pole Clamp - Small
	£24.50

	0121182
	
	‘’V’ Mount Pole Clamp - Large
	£28.00

	0121184
	
	‘V’ Mount Rail Clamp
	£28.00

	0121197
	
	‘V’ mount pole clamp, horizontal
	£32.00

	0121199
	
	Swivel mount
	£56.00

	0121200
	CP2345
	Universal mounting clamp
	£28.01

	0121203
	B-75554
	0-1 V DC interface cable
	£16.32

	0121204
	B-75555
	RS232 interface cable
	£25.03

	0121205
	C53790
	Calibration assembly for AX300 & MX300
	£11.01

	0131201
	C74721 New Ver
	Sensor cable for AX300 & MX300 (Teledyne)
	£24.00

	0131202
	
	Sensor cable for AX300 & MX300 (Viamed)
	£12.00


CE0086
Quantity and ‘trade in’ discounts available. Please contact Viamed for further details.

Prices effective: 5th September 2013

Prices exclude V.A.T. and postage & packing.
[image: image1.png]