	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley  - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542          Fax: +44 (0)1535 635582

Email: info@viamed.co.uk          www.viamed-online.com



	USD PRICE LIST
AX300 Oxygen Analyser &

MX300 Oxygen Monitor 


	
	
	
	
	

	Part Number
	Model Number
	Description
	Price USD $

	0111230
	AX300
	Oxygen analyser, without adjustable alarms

3½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	$412.00

	0111232
	AX300 
Includes.optional:

RS232 output.
	Oxygen analyser, without adjustable alarms

3½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: RS232

Includes sensor and standard accessories.


	$447.10

	0111233
	AX300
Includes optional: 
2½ digit LCD.

	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories.


	$447.10

	0111234
	AX300
Includes optional:
RS232 output.

2½ digit LCD.

	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<18% alarm

Output: RS232

Includes sensor and standard accessories.


	$482.20


	Part Number
	Model Number
	Description
	Price

USD $

	0111235
	MX300
	Oxygen monitor, with alarms

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	$657.00

	0111237
	MX300
Includes.optional:

RS232 output.
	Oxygen monitor, with alarms.

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	$692.10

	0111238
	MX300
Includes optional: 
2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories.


	$692.10

	0111239
	MX300
Includes optional:
RS232 output.

2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	$727.20


Optional Accessories & Consumables
	Part Number
	Model Number
	Description
	Price USD $

	0110017
	C43690
	Oxygen sensor, R17MED
	$72.00

	0120099
	B-50057
	Oxygen sensor flow diverter
	$9.00

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D. 
	$4.50

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	$6.30

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	$6.30

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm)

15mm I.D. –15mm O.D., T 15mm I.D.
	$2.70

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet
	$7.65

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	$2.30

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	$2.30

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered)
	$2.00

	0121180
	
	‘V’ Mount Wall Plate
	$19.20

	0121181
	
	‘V’ Mount Pole Clamp - Small
	$56.00

	0121182
	
	‘’V’ Mount Pole Clamp - Large
	$64.00

	0121184
	
	‘V’ Mount Rail Clamp
	$64.00

	0121197
	
	‘V’ mount pole clamp, horizontal
	$67.80

	0121199
	
	Swivel mount
	$92.30

	0121200
	
	‘Universal Mounting Clamp, with vertical and horizontal adjustments
	$87.00

	0121203
	B-75554
	0-1 V DC interface cable
	$34.55

	0121204
	B-75555
	RS232 interface cable
	$53.00

	0121205
	C53790
	Calibration assembly for AX300 & MX300
	$23.30

	0131201
	C74721 New Ver
	Sensor cable for AX300 & MX300 (Teledyne)
	$50.00

	0131202
	
	Sensor cable for AX300 & MX300 (Viamed)
	$36.00


CE0086
Prices effective: 5th September
Delivery: EXW (Incoterms 2010) Viamed UK 
[image: image1.png]