	COMPANY OPERATING PROCEDURES

	Procedure AN300 QA

	Created:
	27/03/06
	VM3/COP/38.08
	Issue1
	1

	Revised:
	18 February 2014
	Last printed 5/22/2009 12:33:00 PM
	Page 1 of 1 



             AN300


Open the box carefully and take out yellow case take out the sensor, analyser, battery and cable.

Take the batteries out of their plastic and put then in the analyser, 

connect the cable and cell. 


Check the on/off switch works.

Press the button for a few seconds until the count down starts,when calibration has finished the 
analyser should read 79.1. 

Switch off the unit.


Put a Viamed label on the cell and re-seal it, and place sensor barcode on the bag 

Put Analyser barcode on the outside box, and on the pink bubble bag.


pack all the items back in the box and put a label on the outside then place whole unit


back into the cardboard box and re-seal. 
[image: image1.jpg]B - s
Nitrogen analy AN300.
251118

01108980
™~
4249

[ i, i







6284.doc         Page 1 of 1

