## Sheet1
Opera	Qty	Description	Supplier	Part number	Supplier Description	Price	Order Qty	Build Qty	Manufacturing costings – Weld Wide	Opera
7930000	1	Case	RS	507-983		10.850	50		£10.850	7930000
7930001	1	Case – machined	Pendle Signs & Plastics			3.000	50		£3.000	7930001
7930002	1	Case – machined & with printing	Kingsway Print (£60.00 set up)			68.250	50	1	£1.365	7930002
7930004	1	Oxygen Sensor Adapter						1		7930004
7930005	1	LCD	Anders Electronics	OEM4	Voltmeter module	19.740	50	1	£19.740	7930005
7930006	1	ON/OFF Switch	RS	197-7692	SPST Miniature Slimline Rocker Switch	0.740	25	1	£0.740	7930006
9730040	1	Calibration Potentiometer	RS	169-506	Potentiometer, 10K	4.640	10	1	£6.430	9730040
7930007	1	Battery Lead (single)				3.870		1	£0.387	7930007
7930030		Battery Lead (pack)	Farnell	1183124	Battery Connector, PP3 Type, pack of 10	3.870
7930008	1	Input Connector	Farnell	9731148	22-27-2021 Header, Square Pin, 0.1”	0.320		1	£0.320	7930008
7930009	34.0cm	Cable – Red	RS	712-5358	7 / 0.2mm cable, red – 100m reel	6.450			£0.020	7930009
7930010	16.5cm	Cable – Black	RS	712-5327	7 / 0.2mm cable, black – 100m reel	6.450			£0.010	7930010
7930011		Tinned Copper Wire – 0.71 mm	RS	355-079	Tinned Annealed Solid Copper Wire. 22 swg	4.310			£0.010	7930011
7930012	5	Cable Tie (single)				1.420	1	5	£0.142	7930012
7930031		Cable Tie (pack)	RS	664-2883	White sub-min nylon cable tie, 71x1.6mm, pack of 100	1.420
7930013	2	Cable Saddle (single)				3.390	50	2	£0.136	7930013
7930032		Cable Saddle (pack)	RS	241-4776		3.390
0032310	4.0cm	Heatshrink tubing, black, 1.6mm x 20m	RS	666-852	Black heatshrink tubing, 1.6mm bore	19.350			£0.040	0032310
0032312	4.5cm	Heatshrink tubing, black, 3.2mm x 20m	RS	666-874	Black heatshrink tubing, 3.2mm bore	16.390			£0.040	0032312
7930014	3.2cm	Foam Insert – Battery Compartment – grey	RS	205-0940	Grey PVC foam sealing strip, 15m L x 25mm W	11.030	1		£0.024	7930014
7930015	3.2cm	Foam Insert – Battery Compartment – black	RS	205-0883	Blk PVC foam sealing strip, 15m L x 25mm W	7.050	1		£0.015	7930015
0050075		Cyanoacrylate Super glue, high performance – low odour, low bloom, 50g bottle	Grosvenor	L0301323		37.750	1			0050075
0050070		Polyolefin Primer, 10g bottle.	Grosvenor	LC770		12.010	1			0050070
7950000		Silicone adhesive	CPC	SASILADREDCAP	Servisol 200003100 Non-Corrosive Silicone Sealant, 75ml	4.860	1			7950000
0110370	1	Oxygen Sensor, WGA-01, Weld Wide								0110370
7940000	1	Labour Cost – Assembly of Oxygen Analyzer	Viamed			5.000	1.000		£10.000	7940000
7930023	1	Label, Front Panel, top – Argone Weld Gas Analyser	Renlim			0.154	500		£0.154	7930023
7930024	1	Label, Front Panel, lower LHS - Argone Weld Gas Analyser	Renlim			0.164	500		£0.164	7930024
7930025	1	Label, Rear Panel, large - Argone Weld Gas Analyser	Renlim			0.286	500		£0.286	7930025
7930019	1	Label, Rear Panel, serial number	Renlim			0.210	500	1	£0.210	7930019
		Plastic bag
									£54.083