Risk Assessment of Resuscitation Cabinet and Overhead Heater.


This unit consists of:
· An Overhead heater,

· A wall mounted cabinet.

· An Apgar timer,

· A Tom Thumb resuscitator

· A Suction Unit

· A patient bed.

Overhead heater,
Originally the overhead heater (TC400) was manufactured by Appleyards & Sons.

In late 1988 it failed BSI Type testing Report 138544.

It was replaced with the Nufer Ceratherm. Until the mid 1990's  it was sold under the TC400 name.

The first remaining P.O. to Nufer is 2001.

The risk reports for the original TC400 were written in June 1996  

Resuscitation Unit and TC400 Risk analysis reports   ID3957.

The Nufer Ceratherm has its own CE mark and Technical documentation held by Nufer. ID 8154

ID11793 (2011)

Wall Mounted cabinet
This is based on a standard wall mounted Drugs cupboard and in a Class I.

The only risk is the cabinet not being correctly fitted to the wall or inspected regularly.

Resuscitation Unit and TC400 Risk analysis reports

Resuscitation Cabinet installation instruction ID 13272 ( ongoing updates)

Apgar timer
Has its own Technical File

Tom Thumb resuscitator
Has its own Technical File

Suction Unit
This is supplied by various companies each having there own CE Mark

Patient bed.

Classified  ID 1278   26/1/99

Risk Analysis and residual risks ID 3909

J.S.Lamb

07/05/2014
