[image: image1.png]Vandagraph
>ensor Technologies






	CE Marking


In the absence of any specific standard/s for dive sensors, the new generation VST oxygen sensors are currently manufactured in accordance to EN ISO 9001:2008; and the CE mark without body number is applied. 

The sensors have been developed to the applied standards 

EN 50270, EN 50104/A1, EN 61010-1 and EN61326-1. 

The CE marking does not imply certification for any specific usage. If a future dive sensor specific EN standard is published, it may also be required that a notified body number be applied next to the CE mark. 

We are at present taking advice and depending on the ruling; the existing CE mark may in the interim be removed or retained. This is dependent upon whether diving oxygen sensors are classified as a product or as a component.

.

01/07/11 v1.0

Page 1 of 1
Vandagraph Sensor Technologies Ltd.

15 Station Road, Cross Hills, Keighley, West Yorkshire BD20 7DT, United Kingdom

Tel +44 (0) 1535 634900   Fax +44 (0) 1535 635582   e-mail: info@vandagraphst.com

www.vandagraphst.com

