## Sheet1
Action required	VST part number	Status		Factory reference	Model	OEM	Supplied to	Output	Serial number prefix	Connector	Connector VST part number	Connector ref.	Data sheet	Dated	Price List	Dated	Opera A/C	Opera Price list	Images	Declaration of conformity	VST part number	Status
	8010000	Released	OOD103	1001570	VST2200	Vandagraph Sensor Technologies Ltd.	OEM manufacturers for evaluation	9.0 – 13.0 mV	VST	3 pin Molex		Molex 22-11-1031	V1.3	2012-10-01	Yes	2014-03-10	N/A	N/A	Yes	Not requested	8010000	Released
	8010001	Discontinued	OOD103	1001570	APD5	Ambient Pressure Diving	Ambient Pressure Diving Ltd.	9.0 – 13.0 mV	AP	3 pin Molex		Molex 22-11-1031					VST0002				8010001	Discontinued
	8010002	Discontinued	OOD103-1V	1001581	APD11	Ambient Pressure Diving	Ambient Pressure Diving Ltd.	9.0 – 13.0 mV	AP	SMB co-axial		Radiall SMB Series R114.426.00 Straight female receptacle – PCB					VST0002				8010002	Discontinued
Labelling address, images	8010003	Released	OOD103-1	1001580	VR1700	VR Technology Holdings Ltd.	Avon Protection – Underwater Systems	9.0 – 13.0 mV	VR	Miniature phone jack		Switchcraft 0.141” (3.57mm) range. Type No. 41	V1.3	2010-10-26	Yes	2011-09-12	VST024	VRTE	Requires updating	Yes	8010003	Released
	8010004	Released	OOD103-2V	1001721	R17JJ-CCR	JJ-CCR	JJ-CCR ApS	9.0 – 13.0 mV	JJ	SMB co-axial		Radiall SMB Series R114.186.000. Right angled plug, crimp type	V1.2	2011-10-19	Yes	2011-09-12	VST0001	JJCR	Yes	Not requested	8010004	Released
	8010005	Released	OOD103-1	1001580	VST1700	Vandagraph Sensor Technologies Ltd.	OEM manufacturers for evaluation	9.0 – 13.0 mV	VST	Miniature phone jack		Switchcraft 0.141” (3.57mm) range. Type No. 41			Yes	2014-03-10	N/A		Yes		8010005	Released
	8010006	Released	OOD103	1001570	CR22D	rEvo bvba	Raytech bvba	9.0 – 13.0 mV	Not applicable	3 pin Molex		Molex 22-11-1031	V1.3	2014-03-31	Yes	2014-04-22	VST006	RAYT	Yes	Not requested	8010006	Released
	8010007	Released	OOD103-1V	1001581	NaNS01	Narked at 90	Narked at 90 Ltd.	9.0 – 13.0 mV	S01	SMB co-axial		Radiall SMB Series R114.426.000 Straight female receptacle – PCB	V1.2	2011-10-19	Yes	2014-04-22	VST011	NARK	Yes	Not requested	8010007	Released
Data sheet	8010008	Released	OOD103	1001570	NaNM01	Narked at 90	Narked at 90 Ltd.	9.0 – 13.0 mV	M01	3 pin Molex		Molex 22-11-1031			Yes	2014-04-22	VST0011	NARK	No	Not requested	8010008	Released
	8010009	Unreleased	OOD103-1V	1001581	VST1200	Vandagraph Sensor Technologies Ltd.	OEM manufacturers for evaluation	9.0 – 13.0 mV	VST	SMB co-axial		Radiall SMB Series R114.426.00				N/A					8010009	Unreleased
	8010010	Released	OOD103-OG	1001930	RBL-23D	Rebreather Lab Co. Ltd.	Andreas Fritz	9.0 – 13.0 mV	RBL	3 pin Molex		Molex 22-11-1031	V1.2	2012-02-27			VST008	RBL1	Yes	Not requested	8010010	Released
	8010011	Unreleased	OOD103	1001570	VR2200	VR Technology Holdings Ltd.	Avon Protection – Underwater Systems	9.0 – 13.0 mV	VR	3 pin Molex		Molex 22-11-1031			Yes	2011-09-12	VST024	VRTE		Not requested	8010011	Unreleased
	8010012	Released	OOD103-ISC	1002106	SC-I22D	Innerspace Systems Corporation	Megalodon UK	9.0 – 13.0 mV	ISC	3 pin Molex		Molex 22-11-1031	V1.2	2011-10-09	Yes	2014-04-22	VST010	MEGA	Yes	Not requested	8010012	Released
	8010012	Released	OOD103-ISC	1002106	SC-I22D	Innerspace Systems Corporation	Innerspace Systems Corporation	9.0 – 13.0 mV	ISC	3 pin Molex		Molex 22-11-1031	V1.2	2011-10-19	Yes	2011-11-10	VST009	INS1	Yes	Not requested	8010012	Released
	8010013	Unallocated																			8010013	Unallocated
	8010014	Released	OOD103	1001570	K-22D	Kiss Rebreather LLC	Kiss Rebreathers LLC	9.0 – 13.0 mV	K	3 pin Molex		Molex 22-11-1031	V1.1	2013-04-10	Yes	2014-04-22	VST020	KISS		Not requested	8010014	Released
	8010015	Unreleased	OOD103	1001570	UDT-22	Uncharted Diving Technology	Uncharted Diving Technology	9.0 – 13.0 mV	UDT	3 pin Molex		Molex 22-11-1031									8010015	Unreleased
Pictures, labels for data sheet	8010016	Released	OOD103	1001570	HH22 Hamerhead	Juergensen Marine Inc.	Silent Thrill Ltd.	9.0 – 13.0 mV	JM	3 pin Molex		Molex 22-11-1031	V1.0	2013-03-26	Yes	2014-04-22	VST021	SILT		Not requested	8010016	Released
	8010017	Released	OOD103-1	1001580	VMS1700	Vobster Marine Systems	Vobster Rebreathers Ltd.	9.0 – 13.0 mV	VMS	Miniature phone jack		Switchcraft 0.141” (3.57mm) range. Type No. 41	V1.0	2014-04-14	Yes	2014-04-22	VST027	VMS		Yes	8010017	Released
	8010018	Released	OOD103	1001570	Triton T22D	M3S (Multi Safety Support System)	M3S (Multi Safety Support System)	9.0 – 13.0 mV	M3S	3 pin Molex		Molex 22-11-1031	V1.0	2014-04-16	Yes	2014-04-22	VST026	M3S		Not requested	8010018	Released
	8010019	Unallocated																			8010019	Unallocated
	8010020	Unallocated																			8010020	Unallocated
	8010021	Unallocated																			8010021	Unallocated
	8010022	Released	OOD103-1V	1001581	APD16	Ambient Pressure Diving Ltd.	Ambient Pressure Diving Ltd.	9.0 – 13.0 mV	APD	SMB co-axial		Radiall SMB Series R114.426.000 Straight female receptacle – PCB	V1.0	2014-04-16	Yes	2014-04-22	VST0002	APD		Not requested	8010022	Released
	8010023	Unallocated																			8010023	Unallocated
	8010024	Unallocated																			8010024	Unallocated
	8010025	Unallocated																			8010025	Unallocated

Sample sensors provided
Company
Poseidon Diving Systems AB
Poseidon Diving Systems AB
Mentes, Alvin Diving Centre
Poseidon Diving Systems AB
Alvin Diving Centre
Poseidon Diving Systems AB
Richard Pyle / Poseidon Diving Systems AB
Alvin Diving Centre
American Underwater Products
Uncharted Diving Technology
Divesoft
Poseidon Diving Systems AB / Richard Pyle
Halcyon Dive Systems