## Sheet1
SRS	SRN	SN	Invoice	Sold	Received	Days	Qty	Failure type
SRS62856	SRN19326	JJ100003	16	08/12/10	25/05/11	168	1	Post CE testing evaluation. Case discoloured through excessive temperatures, but NFF
SRS62857	SRN19327	JJ100004	16	08/12/10	25/05/11	168	1	Post CE testing evaluation. Case discoloured through excessive temperatures, but NFF
SRS62858	SRN19328	JJ100023	16	08/12/10	25/05/11	168	1	Post CE testing evaluation. Case discoloured through excessive temperatures, but NFF
SRS62814	SRN19180	VR100190	42	19/01/11	18/04/11	89	1	NFF
SRS62822	SRN19181	VR100210	46	19/01/11	18/04/11	89	1	NFF
SRS62918	SRN19520	S01100001	72	07/06/11	07/07/11	30	1	NFF
SRS62961	SRN19755	10510037	71	02/06/11	08/08/11	67	1	Conformal coating found on Molex connector pins
SRS62973	SRN19756	10510099	71	02/06/11	08/08/11	67	1	Conformal coating found on Molex connector pins
SRS62974	SRN19757	10510034	71	02/06/11	08/08/11	67	1	US
SRS62975	SRN19758	10510039	71	02/06/11	08/08/11	67	1	NFF
SRS62971	SRN19759	S01100043	72	08/06/11	08/08/11	61	1	No output
SRS63033	SRN20013	10510044	71	02/06/11	21/09/11	111	1	NFF
SRS63099	SRN20134	JJ100173	52	30/03/11	24/10/11	208	1	No output
SRS63186	SRN20441	VR100658	88	16/09/11	22/12/11	97	1	NFF
SRS63186	SRN20442	VR100515	76	06/07/11	22/12/11	169	1	NFF
SRS63094	SRN20133	S01100102	80	29/07/11	20/10/11	83	1	NFF
SRS63325	SRN20872	VR100189	42	05/10/12	26/03/12	193	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63325	SRN20873	VR100198	42	05/10/12	26/03/12	193	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63325	SRN20874	VR100203	42	05/10/12	26/03/12	193	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63327	SRN21065	S01100175	82	09/08/11	09/05/12	274	1	NFF
SRS63368	SRN21003	20110693	121	01/02/12	01/05/12	90	1	Low output
SRS63411	SRN21184	ISC100321	116	12/01/12	24/05/12	134	1	No output
SRS63429		VR100320	59	20/04/11	01/06/12	408	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63429		VR100345	59	20/04/11	01/06/12	408	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63429		VR100944	132	19/03/12	01/06/12	74	1	Galvanic corrosion of the output connector. Sensor still functioned within specification
SRS63392	SRN21135	JJ100695	109	14/12/11	17/05/12	155	1	Intermittent output
SRS63476	SRN21428	VR101143	171	20/06/12	10/08/12	51	1	NFF
SRS63476	SRN21429	VR101153	171	20/06/12	10/08/12	51	1	NFF
SRS63476	SRN21430	VR101163	171	20/06/12	10/08/12	51	1	NFF
SRS63498	SRN21475	VR100748	100	02/11/11	20/08/12	292	1	NFF
SRS63424	SRN21283	S01100330	89	21/09/11	27/06/12	280	1	NFF
SRS63444	SRN21275	S01100029	72	08/06/11	22/06/12	380	1	NFF
SRS63490	SRN21431	S01100464	127	24/02/12	10/08/12	168	1	NFF
SRS63611	SRN21754	VR101309	197	18/09/12	08/11/12	51	1	No output
SRS63611	SRN21755	VR101320	197	18/09/12	08/11/12	51	1	No output
					Totals	5206	35						Qty	Failure type
									All returns				1	Low O/P
									Shortest	30 days			2	Conformal coating on pins
									Longest	408 days			2	Unstable signal
									Average	149 days			3	Post testing evaluation
									Median	111 days			5	No O/P
													6	Corrosion
									All failures				16	NFF
									Shortest	51 days			35
									Longest	408 days
									Average	151 days
									Median	112days

									Failures – the connector washer
									Shortest	51 days
									Longest	208 days
									Average	95 days
									Median	67 days