[image: image1.png]Vandagraph
>ensor Technologies






Goods In Procedure

8010000

VST2200 Oxygen Sensor
[image: image2.jpg]



v1.0

26th February 2014

	1. Verify sensor model


Using the images below verify that the sensors are the correct model, in terms of casing, connector.

[image: image3.jpg]



[image: image4.jpg]


[image: image5.jpg]



	2. Verify labelling


Using the images below verify that the sensor and oxygen senor bag labels are correct.

a) Check that the serial numbers follow on from the last batch.

b) Serial number format:  VS1xxxxx

NOTE: the number shown on the images below is a generic format.

c) Check date format and that it is current and valid:  Year-Month, e.g. 2010-06

NOTE: we may have stipulated a ‘manufactured’ month required on the purchase order.

Oxygen sensor label 90.0mm x 15.0mm

White vinyl label, text & graphics - black

[image: image6.jpg]



Gas barrier bag label 63.5mm x 46.6mm

White label, text & graphics – black

[image: image7.jpg]s VST2200 Oxyger

M Vsl
N "l

| TTe—




NOTE: Check that the there is a ‘breathing hole’ through the label and bag.

	3. Sensor test results


Ensure that the factory production test results have been received in spreadsheet format and save a copy in Z drive, within the folder: VST Sensor Test Results Sheets.
	4. Processing of the Purchase Order


Check the received paperwork against the purchase order and process in Opera following standard procedures.

	5. Book-in sensors into Intrastats


a) Check serial number run and input into Intrastats.

b) Print off bar code vinyl labels.

c) Print off A4 sheet/s with bar code labels.
	6. Sealing and bar code label


a) Check that the single line heat seal is intact. Using the heat seal machine (with wide security seal band), re-seal the bag over the existing single line seal, see image below.

b)
 Affix the associated vinyl bar code label to the rear of the bag, see image below. NOTE:  Centrally affix the label ensuring that the lower edge is aligned with the lower edge of the front label.
[image: image8.png]Vandagraph Sensor Technologies ~ VS§T2200 Oxygen Sensor

1K5 _SLaItion v50ad+CrI:>sI$ Hills M SIN  A123456
g t
et /N (98] CE oo NI




[image: image9.png]- Vandagraph Sensor Technologles

e-mail
15 Station Road, Cross Hills Tel. +44 (0)1535 534900
Keighley, West Yorkshire
BD20 7DT, United Kingdom

VST2200 Oxygen Sensor

M 2010-06

Ce€
SIN A123456

0
50°C
4o
20°€

This oxygen sensor contains caustic liquid, in case of leakage avoid contact with eyes
and skin. Do not puncture or staple this bag. Do not remove the oxygen sensor from
this bag until ready to use. Depending upon the ambient conditions the oxygen sensor
may require 30 minutes to reach signal stability after installation.





	7. Packing


a) Together with the A4 sheets printed with bar code labels, scan to and store sensors (in serial number order) in a labelled large plastic storage bin in the VST stock area.

b) Assemble packing box/es. (Instructions & images to be inserted)
c) Affix packing box labels.

d) Pack the sensors into the packing box (instructions & images to be inserted)
e) Insert the A4 sheet’s with bar code labels into the top of the packing box.

f) Insert Declaration of Conformity Certificate (if applicable, need to state for each sensor.

g) Loosely seal the packing box and then scan to store in the VST stock area.

	8. Shipping


a) 
As appropriate, scan the sensors to the order using the A4 sheet/s with the bar code labels. Then discard the A4 sheets/s.
b) Insert a copy of the invoice (if applicable).

c) Depending upon sensor quantities, multiple boxes may need to be packed into a large cut down box, depends upon each customer usual or requested quantities.

d) 
Affix UPS shipping labels.
Vandagraph Sensor Technologies Ltd.

15 Station Road, Cross Hills, Keighley, West Yorkshire BD20 7DT, United Kingdom

Tel +44 (0) 1535 634900   Fax +44 (0) 1535 635582   e-mail: info@vandagraphst.com

www.vandagraphst.com

