[image: image1.png]



[image: image1.png]MDF206 (CF0206)
Revision 7 (July 2014)
Communication Aug 2014 only

Own Brand Labeller Checklist
Minimum Information that needs to be made available to BSI during the Onsite and Offsite assessment. The required information is based on regulatory requirements, NB-MED 2.5.5 and 2.5.1.
	SECTION B – Onsite Assessment Checklist (please tick box if documents are available for review)

	Technical Agreement (signed and dated)
	

	Quality Objectives and Manual, Organisational Structures, Responsibilities, Qualification and Training
	

	Vigilance (in line with MEDDEV 2.12-1) / Complaint Handling Process
	

	PMS Process
	

	Process for Traceability, Corrective and Preventive Actions, Monitoring and Measuring
	

	Design Procedure for manufactures with full QA certification (must as a minimum cover how the OBL agrees any design changes with the OEM)
	

	Process for ensuring compliance of labelling and displaying the CE marking
	

	Procedure for preparing, reviewing and maintaining a Technical File and the associated documents, such as OEM certificates (minimum those mentioned in this form)
	

	Purchasing process for selection and control of OEM
	

	Incoming inspection and Batch release process
	

	Process for registration with the Competent Authority or assigning this process to the EU Rep
	

	Process for Control of records & documents
	

	Change notification process to cover notification of significant changes to BSI (NB-MED 2.5.2)
	

	Management review procedure
	

	Unannounced Visit process
	

	SECTION C –Technical Agreement Checklist (please indicate page number)

	OBL Details
	

	OEM Details
	

	Identification of devices covered
	

	OEM needs to maintain his CE approval and notifies of any change or withdrawal
	

	OEM to provide notification of significant changes / vigilance reports / product recalls and corrective actions taken.
	

	Documentation sharing between OEM/OBL
	

	Documentation retention period both OEM and OBL for the products supplied

(time, location, access)
	

	Responsibilities of maintaining the content of the technical files, and design, translation and affixing of labels, IFU and other documents
	

	Describe the system for advising each party and the Notified Body of any changes to the product or process
	

	Identification of the party responsible for Vigilance (e.g. communication of incidents, feedback into CAPA, CA/NB notification, reporting timescale, recall etc.)
	

	Details of the process for Post market surveillance? (e.g. responsibility, sharing of information, feedback into design etc.)
	

	Access to OEM Technical documentation for OBL or at least BSI and Competent Authorities
	

	Access to the OEM location without prior notice by  at least BSI and Competent Authorities
	

	SECTION D – Offsite Documentation Review  (please tick box if documents are available for review and submit for review on request)

	OBL Summary Technical File Part A (in line with NB-MED 2.5.1) – Please reference all sections of the OEM’s technical documentation which are being relied upon.
	

	OEM & OBL Product Labels & Instructions For Use
	

	Copies of the OEM CE Certificates (where applicable include R&TTE, PPE, etc.)
	

	OBL Draft Declaration of Conformity
	

	OEM signed Declaration of Conformity
	

	Last OEM Notified Body QMS Audit Report
	

	A declaration from the OEM that the supplied devices are not product of an OEM/OBL agreement themselves
	

	Devices that fall into Rule 13 (Device Drug combinations) – A confirmation from the OEM that a consultation has taken place in the form of the report or report reference number
	

	For devices utilising tissues / derivatives from TSE susceptible species, confirmation from the OEM that certification has been issued in accordance with Regulation 722/2012
	

	For IVD Annex II List A products – The OEM notified body batch release authorisation
	

	For Annex III applications a copy of the OEM test 
	


PCA206




Page 1 of 3


Issue 1
The contents of this document are confidential to BSI Group
The definitive version of this document is only available through the BSI BMS[image: image2.emf]







                                 Page 1 of 2         

[image: image3.emf]







