	CERTIFICATE  OF CALIBRATION
Issued by:                   Vandagraph  Ltd.
Date issued:               25 September 2014
Certificate No.:            1409240
Signed:                       ____________



Client 
Sumner Manufacturing Co., Inc

Date of calibration. 
25 September 2014
Instrument 
Sumner Argo-Naught


Serial number: 
0428 -  0467

Performance Status  
PASS
The equipment detailed herein has been calibrated  and now conforms to the manufacturer’s published specifications. The Q.A. of the above is in strict conformity to BS EN ISO 9001-2000 . All measurements made are traceable to NAMAS.
	Equipment used to carry out calibration

	Fluke Graphical Multimeter, serial number 6911002, CE080
	N/A

	Pico Technology Virtual Instrument ADC-200, serial number 3468, CE020
	N/A

	Microcal  Serial Number
	N/A

	Oxygen BOC Medical 99.5% License 07351
	Y


	Setting
	Oxygen Reading
	Helium Reading

	100% Oxygen
	100
	1.8

	Dry Air
	20.9
	0.3


Sumner  Calibration Cert 1409xxx.doc                            9th March 2010

