	CERTIFICATE  OF CALIBRATION
Issued by:                   Viamed  Ltd.
Date issued:               10 November 2014
Certificate No.:            
Signed:                       ____________                              



Client 

Date of calibration. 
10 November 2014
Oxygen Monitor Type



Serial number: 



Procedure I.D.  

VM3COP40.57



Performance Status  
PASS
The equipment detailed herein has been calibrated  and now conforms to the manufacturer’s published specifications. The Q.A. of the above is in strict conformity to BS EN ISO 9001-2000 & ISO 13485-2003.  All measurements made are traceable to NAMAS.
	Equipment used to carry out calibration

	Fluke Graphical Multimeter, serial number 6911002, CE080
	

	Microcal  Serial Number
	

	Oxygen BOC Medical 99.5% License 07351
	

	Sensor Type:                                         Sensor Serial number:
	


	Setting  on Microcal
	DVM
	Oxygen Reading

	100% Oxygen
	
	

	Air 20.9
	
	

	10
	
	

	30
	
	

	40
	
	

	50
	
	

	60
	
	

	70
	
	

	80
	
	

	90
	
	


VM3COP40.57  VN202 Calibration Viamed.doc                           10/11/14

