	CERTIFICATE  OF CALIBRATION
Issued by:           Viamed  Ltd.
                           15,Station Road,
                            Crosshills,
                            Keighley,
                            BD207DT
Date issued:               25 November 2014
Certificate No.:          xxxxxxxx  
Signed:                       ____________                              



Client  xxxxx

Date of calibration. 
25 November 2014
Oxygen Monitor Type
xxxxxxx

Serial number: 
xxxxxx

Procedure I.D.  

VM3COP40.57



Performance Status  
PASS
The equipment detailed herein has been calibrated  and now conforms to the manufacturer’s published specifications. The Q.A. of the above is in strict conformity to BS EN ISO 9001-2008 & ISO 13485-2003.  All measurements made are traceable to NAMAS.
	Equipment used to carry out calibration

	Fluke  Multimeter, serial number 07010046459    (CE0180)

	Microcal  Serial Number  667108/210   (CE076)

	Oxygen BOC Medical 99.5% License 07351

	Sensor Type:       R-17VAN                                 
	 Sensor Serial number: 351351 B4


	100% Oxygen
	

	Air 20.9
	

	Setting  on Microcal to give Oxygen %
	DVM output of Microcal

	20.9
	

	30.0
	

	40.0
	

	50.0
	

	60.0
	

	70.0
	

	80.0
	

	90.0
	


VN202 Mk2 (Viamed)-Blank.doc                           10/11/14

