Declaration of conformity

	Description
	22S Oxygen sensor  P/N 3013

	Part Number
	0110301

	Manufacturer
	Teledyne Analytical Instruments

16830 Chestnut Street

City of Industry

CA 91748

USA

	Specification
	TAI specification R-22A  R-22MED or R-22S

	Standards
	Applicable sections of Bar-90 Test Analyser system Specifications April 1966

PTB-A 1810

or

EN60601-1 3rd edition

EN60601-1-2

EN14971-2012

ENISO 80601-2-55:2011


This product is a relabelled R-22 type sensor to be used only in surface analysers
We Vandgagraph Ltd declare that the above mentioned product meets the above standards

	Signature


	

	Name


	

	Title


	Director

	Date


	


