VM3COP32.38 Finger Probe 0014724 

SpO2 Silicone Finger Sensor - Adult. 
Compatibility: Nihon Kohden 
Cable length: 2.95 m 
Model: SC4047R 

Connector: New style 14 pin rectangular 

Made by converting 0014714 

(If necessary can also utilize 0014707, 0014713) 

Cut off connector and affix connector 0031256. 

Also need to change the part number label on the probe and replace the labels on the box 
