8010022 Oxygen sensor
The following is the first batch of sensors to be manufactured with the revised output cap moulding.
APD106501 - APD106750 (Qty 250)

The revised specification datasheet is v1.3.