8010007 Oxygen sensor
The following is the first batch of sensors to be manufactured with the revised output cap moulding.
S01105501 to S01105600 (Qty 100)
The revised specification datasheet is v1.3.