## Sheet1
Code | Description | Stock Type | Product Category | Class of Category | Minimum storage temperature | Maximum storage temperature | Minimum relative humidity (RH) | Maximum relative humidity (RH) | UDI | EU authorised representative | Commodity code | Viamed Part Number
VIA1.280007 | FINGER OXIMETER (GREEN FROG) | CONSUMABLE | FJK | lla | -20 | 55 | 0 | 93 | 5051826003015 |  | 90181990-00 | 2810007
VIA0.5610000 | PM5900 OXYGEN MONITOR | INSTRUMENT | NOT AVAILABLE | [8 empty] | 5610000
VIA0.0012165 | VIAMED SMARTSAT VM-2160 | INSTRUMENT | FJK | IIb | -30 | 70 | 10 | 95 | 5051826047736 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0012165
VIA0.VM-2160 | HAND HELD PULSE OXIMETER | INSTRUMENT | FJK | IIb | -30 | 70 | 10 | 95 | 5051826047736 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0012165
VIA1.0014753 | SILICONE SPO2 SENSOR - ADULT | CONSUMABLE | FJK | IIb | -40 | 70 | 15 | 95 | 5051826026366 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0014753
VIA1.0014850 | CABLE EAR SENSOR 1.2m | CONSUMABLE | FJK | IIb | -40 | 70 | 15 | 95 | 5051826026403 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0014850
VIA1.0014851 | PULSE OXIMETRY WRAP SENSOR | CONSUMABLE | FJK | IIb | -40 | 70 | 15 | 95 | 5051826026410 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0014851
VIA1.0014895 | PULSE OXIMETRY EXTENSION CABLE 1.2M MODEL XT 6500 | CONSUMABLE | FJK | IIb | -30 | 70 | 10 | 95 | 5051826002544 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0014895
VIA1.0014994 | DISPOSABLE SENSORS PAEDIATRIC PLASTER TAPE new part no 0015011 | CONSUMABLE | FJK | llb | -20 | 60 | 15 | 95 | 5051826026441 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015011
VIA1.0015012 | DISPOSABLE SP02 SENSORS INFANT | CONSUMABLE | FJK | IIb | -20 | 60 | 15 | 95 | 5051826026458 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015012
VIA1.6020131209 | SENSOR INFANT VIAMED | CONSUMABLE | FJK | IIb | -20 | 60 | 15 | 95 | 5051826026458 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015012
VIA1.0014995 | DISPOSABLE SENSORS INFANT PLASTER TAPE new part no 0015012 | CONSUMABLE | FJK | llb | -20 | 60 | 15 | 95 | 5051826026458 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015012
VIA1.0015013 | DISPOSABLE SP02 SENSORS - NEONATAL | CONSUMABLE | FJK | IIb | -20 | 60 | 15 | 95 | 5051826026465 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015013
VIA1.0014996 | DISPOSABLE SENSORS NEONATAL PLASTER TAPE | CONSUMABLE | FJK | llb | -20 | 60 | 15 | 95 | 5051826026465 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 0015013
VIA1.0021013 | WRAP POSEY PULSE OXIMETER PROBE 6554 (0021015 EACH (BOX12) | CONSUMABLE | FJK | I |  |  |  |  | 10190676001856 | Medical Device Safety Service GmbH | 90181990-00 | 0021013
VIA1.6554 | NEONATAL CUFF | CONSUMABLE | FJK | I |  |  |  |  | 10190676001856 | Medical Device Safety Service GmbH | 90181990-00 | 0021013
VIA1.0021015 | POSEY PULSE OX SENSOR WRAP MODEL 6554 1 CASE - 96 BOXES | CONSUMABLE | FJK | [5 empty] | 10190676001856 | Medical Device Safety Service GmbH | 90181990-00 | 0021015
VIA1.0022171 | UNIVERSAL MOUNTING PLATE | CONSUMABLE | FJA | [5 empty] | 5051826002681 |  | 90181990-00 | 0022171
VIA1.R17MED | OXYGEN SENSORS | CONSUMABLE | FYZ | lla |  |  |  |  | 5051826000700 | Viamed – EU | 9019209000 | 0110017
VIA1.0110018 | OXYGEN CELLS FOR VIVOS | CONSUMABLE | FYZ | lla |  |  |  |  | '04036616011891 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110018
VIA1.0110088 | R-17V OXYGEN SENSOR | CONSUMABLE | FYZ | lla |  |  |  |  | 04036616011891 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110018
VIA1.0110040 | OXYGEN CELL CLASS R-30V | CONSUMABLE | FYZ | lla |  |  |  |  | 04036616000482 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110040
VIA1.0110041 | O2 CELL MODEL R41V | CONSUMABLE | FYZ | lla |  |  |  |  | 04036616000512 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110041
VIA1.0110042 | O2 CELL MODEL R41V | CONSUMABLE | FYZ | lla |  |  |  |  | 5051826003435 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110042
VIA1.0110057 | T-7 OXYGEN SENSOR | CONSUMABLE | FYZ | lla |  |  |  |  | 5051826000830 | Viamed – EU | 9019209000 | 0110057
VIA1.0110452 | O2 SENSOR MAX-550E | COMPONENT | FYZ | lla |  |  |  |  | 00817770020363 | Emergo Europe | 9019209000 | 0110452
VIA1.0110579 | OXYGEN SENSOR CELL OOM113 | COMPONENT | FYZ | lla |  |  |  |  | 0104036616010122 | Honeywell Healthcare Solutions GmbH | 9019209000 | 0110579
VIA1.0111263 | Maxtec MAX02 ME | INSTRUMENT | FJA | llb | -15 | 50 | 0 | 95 | 00853061006302 | Emergo Europe | 90181990-00 | 0111263
VIA1.121180 | MOUNT 'V' WALL | CONSUMABLE | FJA | [5 empty] | 5051826009796 |  | 90181990-00 | 0121180
VIA1.0121182 | V MOUNT POLE CLAMP | CONSUMABLE | FJA | [5 empty] | 5051826009819 |  | 90181990-00 | 0121182
VIA1.0121200 | CLAMP MOUNTING UNIVERSAL | CONSUMABLE | FJA | [5 empty] | 5051826001738 |  | 90181990-00 | 0121200
VIA1.0131202 | CABLE SENSOR OXYGEN | CONSUMABLE | FJA | [5 empty] | 5051826003152 |  | 90181990-00 | 0131202
VIA0.2510000 | DB3 NERVE STIMULATOR | INSTRUMENT | DISCONTINUED - alternative product available TOF3D Neuromuscular Monitor | [7 empty] | 90181990-00 | 2510000
VIA1.2510005 | DB3 TESTER | CONSUMABLE | FDA | [5 empty] | 5051826002179 |  | 90181990-00 | 2510005
VIA1.2520001 | LEAD | SERVICE_PART | FDA | CE |  |  |  |  | 5051826014585 |  | 90181990-00 | 2520001
VIA1.2810006 | FINGER OXIMETER (YELLOW BEAR) | CONSUMABLE | FJK | lla | -20 | 55 | 0 | 93 | 5051826003008 |  | 90181990-00 | 2810006
VIA1.4410100 | FLOW INDICATOR & ETCO2 DETECTOR | CONSUMABLE | [9 empty] | 4410100 | Discontinued by Manufacturer
VIA0.4410500 | VM-2500-M MAINSTREAM CAPNOGRAPH | INSTRUMENT | NOT AVAILABLE | [8 empty] | 4410500
VIA0.4410520 | SIDESTREAM CAPNOGRAPH - VM-2500-S | INSTRUMENT | NOT AVAILABLE | [8 empty] | 4410520
VIA1.4420615 | PROTECTIVE RUBBER BOOT/USE WITH VM-2500-M/S & VM-2500-MG CAPNOGRAPHS | CONSUMABLE | FJA | lla |  |  |  |  | 5051826017210 |  | 90181990-00 | 4420615
VIA1.4420803 | NEONATAL PROBE WRAP | CONSUMABLE | [9 empty] | 4420803 | Discontinued by Manufacturer
VIA1.4420923 | VIAMED FILTER LINES FOR ET Co2 (72hr) | CONSUMABLE | FJA | lla | -25 | 60 | 10 | 95 | 0124251679601054 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | 4420923
VIA1.4430001 | NEONATAL PROBE WRAP | CONSUMABLE | [9 empty] | 4430001 | Discontinued by Manufacturer
VIA1.9910127 | LEAD | SERVICE_PART | [9 empty] | 9910127 | Discontinued
VIA1.0014751 | SILICONE SP02 SENSOR - ADULT now part 0014753 | CONSUMABLE |  |  | -40 | 70 | 15 | 95 | 5051826026366 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | Superseded by 0014753
VIA1.0014825 | SUPERCEEDED BY 0014850 | CONSUMABLE |  |  | -40 | 70 | 15 | 95 | 5051826026403 | Bluepoint Medical GmbH & Co. KG | 90181990-00 | Superseded by 0014850
VIA1.0110048 | 02 SENSOR CELL - DO NOT USE - PT # SUPERSEDED | CONSUMABLE | [9 empty] | Superseded by 0110579
VIA1.4009832C | VERMED IP SET PAEDIATRIC | CONSUMABLE | NOT A VIAMED PRODUCT
VIA1.G30106100 | POWER SUPPLY CABLE | CONSUMABLE | UNKNOWN PLEASE CLARIFY

## Sheet2
VIA0.0012165 | 0012165
VIA0.2510000 | 2510000
VIA0.4410500 | 4410500
VIA0.4410520 | 4410520
VIA0.5610000 | 5610000
VIA0.VM-2160 | 0012165
VIA1.0014751 | 0014751
VIA1.0014825 | 0014825
VIA1.0014850 | 0014850
VIA1.0014851 | 0014851
VIA1.0014895 | 0014895
VIA1.0014994 | 0014994
VIA1.0014995 | 0014995
VIA1.0014996 | 0014996
VIA1.0015012 | 0015012
VIA1.0015013 | 0015013
VIA1.0021013 | 0021013
VIA1.0021015 | 0021015
VIA1.0022171 | 0022171
VIA1.0110018 | 0110018
VIA1.0110040 | 0110040
VIA1.0110041 | 0110041
VIA1.0110042 | 0110042
VIA1.0110048 | 0110048
VIA1.0110057 | 0110057
VIA1.0110088 | 0110088
VIA1.0110452 | 0110452
VIA1.0110579 | 0110579
VIA1.0111263 | 0111263
VIA1.0121182 | 0121182
VIA1.0121200 | 0121200
VIA1.0131202 | 0131202
VIA1.121180 | 0121180
VIA1.2510005 | 2510005
VIA1.2520001 | 2520001
VIA1.280007 | 2810007
VIA1.2810006 | 2810006
VIA1.4009832C
VIA1.4410100 | 4410100
VIA1.4420615 | 4420615
VIA1.4420803 | 4420803
VIA1.4420923 | 4420923
VIA1.4430001 | 4430001
VIA1.6020131209 | 0015012
VIA1.6554 | 0021013
VIA1.9910127 | 9910127
VIA1.G30106100
VIA1.R17MED | 0110017