	VOP

	Viamed Operating sub Process

	VM3/COP/02.01

	
	
	
	

	
	
	
	

	Exclusions to ISO13485:2003



Current Exclusions from 13485:2003:

7.5.3.2.2 
Exclusion active implantable devices


Not Applicable, No implantable devices.
7 .5.2.2  
Exclusion for sterile medical devices

Not Applicable, no sterile devices.
7.5.1.3 
Particular requirement for sterile devices


Not Applicable, no sterile devices.
VM3COP02.01 Exclusions to Viamed  ISO13485-2003_14_08_15.doc       14/08/2015                   Page 1 of 1


Page 0 of 1

