Training Assessment Form - Part Number: 0310030

Version 1.0 

24th August 2011


	 [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk


Training Assessment Form

	Candidate Name
	
	Hospital
	

	Job Title / Position
	
	Department
	


Device / Instrument: Tom Thumb Infant Resuscitator, TT480
Part Number: 0310030

	Competency Statement: The candidate is assessed on their understanding of the device and its operation. This assessment does not quantify the candidate’s clinical competence.
The candidate is able to demonstrate competence against the criteria detailed below:

	

	Assessment Criteria 
	Met (

	Ensure device is correctly connected to a gas supply
	

	Connect a patient circuit to Tom Thumb
	

	Connect a mask to the patient circuit
	

	Demonstrate setting an appropriate flow using the integral or external flowmeter*
	

	Demonstrate setting an appropriate PIP pressure using the adjustable valve*
	

	Demonstrate understanding of how to set PEEP pressure if required*
	

	Demonstrate delivering breaths by occluding T-piece
	

	Explain symptoms of a poor airway seal
	

	*Note: the appropriate settings for flow-rate, PIP and PEEP may vary from one clinical situation to another. Viamed cannot specify the settings to use and recommend that they are determined by an appropriately qualified person within the Trust and communicated to the Staff using this equipment.


	IMPORTANT: Please read and ensure an understanding of the Operator’s Manual prior to attempting to operate this device and observe all precautions contained therein.


Notes:

	Assessor / Trainer Name
	
	Job Title / Position
	

	Signature 
	
	Date
	


