Tom Thumb Devices

Benefits of the device against residual risks.

29/09/15

Supporting Documents:

Risk Assessment Document ID#15751  - Carried out by Derek Lamb

Post Market Surveillance Document ID#15747 - Carried out by Derek Lamb

Clinical Evaluation Report -  

Document ID# 15731

Document ID# 15732

Further Clinical Evidence / Researched by – Steve Nixon , John Lamb and Derek Lamb

Document ID#15733 

Document ID#15734 

Document ID#15753

Document ID#15754

In newborns that require positive pressure during resuscitation, the original clinical need for an alternative to self-inflating bags (bag valve mask) is still relevant today. The Tom Thumb T-piece infant resuscitator device provides positive pressure ventilation and facilities target inflation pressures being delivered consistently. In addition we conclude that the residual risk of using the Tom Thumb T-piece infant resuscitator is minimal and outweighed when compared to the benefits.

The above is concluded from our on-going risk assessments and clinical reviews.

From review evidence:

There are no clinical studies in newborns requiring positive pressure during resuscitation to support or refute superiority of the T-piece Resuscitator over bag ventilation in improving outcome.

• In mechanical models, target inflation pressures are delivered more consistently when using

T-piece resuscitators than with self-inflating bags. (LOE 5 - Hussey 2004, F490; Oddie 2005, 109; Finer 2001, 299)

• In mechanical models, PEEP is maintained more consistently with T-piece resuscitators compared with self-inflating bags. (LOE 5 – Finer 2001, 299)
• In mechanical models, the ability to deliver a sustained inflation is better with either a T-piece 

resuscitator or flow-inflating bag compared with a self-inflating bag. (LOE 5 - Bennett 2005, 113)
NAME: Steve Nixon
POSITION: Director – Viamed Ltd.
SIGNED:

DATE: 30th September 2015
