Classification Rationale

These devices are brackets.

They are designed to hold normally hand held equipment for:-

Desk mounted devices

Incubator mounted devices

Wall mounted devices

IV pole mounted devices

In essence to hold the device for the operator to attend to the patient with both hands and/or operate the instrument with one hand.

They are not active devices and are not effected by or emit radiation of any kind.

J.S.lamb

05/10/15
