[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



Cot Lids

Classification Rationale

	Product Family
	These devices are brackets.

They are designed to hold normally hand held equipment for:-

Desk mounted devices

Incubator mounted devices

Wall mounted devices

IV pole mounted devices

In essence to hold the device for the operator to attend to the patient with both hands and/or operate the instrument with one hand.



	Type

	Rule 1
	Class
	Additional Information

	Non-Invasive

	Yes
	I
	

	Active

	No
	
	

	Invasive

	No
	
	

	Special

	No
	
	


Classified by:         J.S.Lamb

Date:


05/10/15
\\VMSERVER7\network\network_extended\network\paperport\Archive Plastic all 080324\Cot Lid\D 1 Classification rationale\(D) Classification Rationale Brackets.doc
J S Nirwan
Page 1
05/10/2015

[image: image1.jpg][image: image2.png]