	Internal Audit Check list

	Viamed Ltd Purchasing

	Created:

	17/May 1995
	Audit No 05
	VOP 05

	
	
	
	Page 5 of 5

	Audit Date
	
	Auditor
	



SCOPE

	Company / ISO Section 
	Criteria of ISO Section
	Auditor Comments / Issues

	Viamed Ltd ISO13485:2016 4.1.5
	Quality management system
For each quality management system process, the organization shall: 
When the organization chooses to outsource any process that affects product conformity to requirements, it shall monitor and ensure control over such processes. The organization shall retain responsibility of conformity to this International Standard and to customer and applicable regulatory requirements for outsourced processes. The controls shall be proportionate to the risk involved and the ability of the external party to meet the requirements in accordance with 7.4. The controls shall include written quality agreements.
	

	Viamed Ltd ISO13485:2016 7.3.4
	Design and development outputs
Design and development outputs shall: 
a) meet the input requirements for design and development; 
b) provide appropriate information for purchasing, production and service provision; 
c) contain or reference product acceptance criteria; 
d) specify the characteristics of the product that are essential for its safe and proper use. 
The outputs of design and development shall be in a form suitable for verification against the design and development inputs and shall be approved prior to release. 
Records of the design and development outputs shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.4.1
	Purchasing process
The organization shall document procedures (see 4.2.4) to ensure that purchased product conforms to specified purchasing information. 
The organization shall establish criteria for the evaluation and selection of suppliers. The criteria shall be: 
a) based on the supplier’s ability to provide product that meets the organizations’ requirements; 
b) based on the performance of the supplier; 
c) based on the effect of the purchased product on the quality of the medical device; 
d) proportionate to the risk associated with the medical device. 
The organization shall plan the monitoring and re-evaluation of suppliers. Supplier performance in meeting requirements for the purchased product shall be monitored. The results of the monitoring shall provide an input into the supplier re-evaluation process. 
Non-fulfilment of purchasing requirements shall be addressed with the supplier proportionate to the risk associated with the purchased product and compliance with applicable regulatory requirements. 
Records of the results of evaluation, selection, monitoring and re-evaluation of supplier capability or performance and any necessary actions arising from these activities shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.4.2
	Purchasing information
Purchasing information shall describe or reference the product to be purchased, including as appropriate: 
a) product specifications; 
b) requirements for product acceptance, procedures, processes and equipment; 
c) requirements for qualification of supplier personnel; 
d) quality management system requirements. 
The organization shall ensure the adequacy of specified purchasing requirements prior to their communication to the supplier. 
Purchasing information shall include, as applicable, a written agreement that the supplier notify the organization of changes in the purchased product prior to implementation of any changes that affect the ability of the purchased product to meet specified purchase requirements. 
To the extent required for traceability given in 7.5.9, the organization shall maintain relevant purchasing information in the form of documents (see 4.2.4) and records (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.4.3
	Verification of purchased product
The organization shall establish and implement the inspection or other activities necessary for ensuring that purchased product meets specified purchasing requirements. The extent of verification activities shall be based on the supplier evaluation results and proportionate to the risks associated with the purchased product. When the organization becomes aware of any changes to the purchased product, the organization shall determine whether these changes affect the product realization process or the medical device. 
When the organization or its customer intends to perform verification at the supplier’s premises, the organization shall state the intended verification activities and method of product release in the purchasing information. 
Records of the verification shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.2
	Cleanliness of product
The organization shall document requirements for cleanliness of product or contamination control of product if: 
a) product is cleaned by the organization prior to sterilization or its use; 
b) product is supplied non-sterile and is to be subjected to a cleaning process prior to sterilization or its use; 
c) product cannot be cleaned prior to sterilization or its use, and its cleanliness is of significance in use; 
d) product is supplied to be used non-sterile, and its cleanliness is of significance in use; 
e) process agents are to be removed from product during manufacture. 
If product is cleaned in accordance with a) or b) above, the requirements contained in 6.4.1 do not apply prior to the cleaning process.
	

	Viamed Ltd ISO13485:2016 7.5.3
	Installation activities
The organization shall document requirements for medical device installation and acceptance criteria for verification of installation, as appropriate. 
If the agreed customer requirements allow installation of the medical device to be performed by an external party other than the organization or its supplier, the organization shall provide documented requirements for medical device installation and verification of installation. 
Records of medical device installation and verification of installation performed by the organization or its supplier shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.2.4
	Internal audit
The organization shall conduct internal audits at planned intervals to determine whether the quality management system: 
a) conforms to planned and documented arrangements, requirements of this International Standard, quality management system requirements established by the organization, and applicable regulatory requirements; 
b) is effectively implemented and maintained. 
The organization shall document a procedure to describe the responsibilities and requirements for planning and conducting audits and recording and reporting audit results. An audit program shall be planned, taking into consideration the status and importance of the processes and area to be audited, as well as the results of previous audits. The audit criteria, scope, interval and methods shall be defined and recorded (see 4.2.5). The selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process. Auditors shall not audit their own work. Records of the audits and their results, including identification of the processes and areas audited and the conclusions, shall be maintained (see 4.2.5). 
The management responsible for the area being audited shall ensure that any necessary corrections and corrective actions are taken without undue delay to eliminate detected nonconformities and their causes. Follow-up activities shall include the verification of the actions taken and the reporting of verification results. 
NOTE Further information can be found in ISO 19011.
	

	Viamed Ltd ISO13485:2016 8.4
	Analysis of data
The organization shall document procedures to determine, collect and analyse appropriate data to demonstrate the suitability, adequacy and effectiveness of the quality management system. The procedures shall include determination of appropriate methods, including statistical techniques and the extent of their use. The analysis of data shall include data generated as a result of monitoring and measurement and from other relevant sources and include, at a minimum, input from: 
a) feedback; 
b) conformity to product requirements; 
c) characteristics and trends of processes and product including opportunities for improvement; 
d) suppliers; 
e) audits; 
f) service reports, as appropriate. 
If the analysis of data shows that the quality management system is not suitable, adequate or effective, the organization shall use this analysis as input for improvement as required in 8.5. 
Records of the results of analyses shall be maintained (see 4.2.5).
	


	
	Question
	Response/Answer
	Y/N

	1
	Review Last years Audit. Update processes if required. 

Are all follow on Issue resolved satisfactory.
	
	

	2
	Check Rolling Task ID 15 to make sure it is up to date.
	
	

	3
	When was the Approved Supplier List last completed.


	
	

	4
	Verify that there is an up to date suppliers used list.


	
	

	5
	Is the List up to date and reviewed annually.


	
	

	6
	Check that this list is monitored on a regular basis. 

Task 15
	See responsibilities and roles in Intrastats
	

	7
	Are individual suppliers graded and reviewed on Intrastats.


	
	

	8
	Do our Purchasing documents clearly describe requirements, i.e. quantity, price, description. Check that purchase orders (PO) are committed by a Director. From the Purchase orders page. Check the PO matches to the items delivered. Check the PO matches to the items on the supplier invoice/s.
Check 5 purchase orders at random

1.

2.

3.

4.

5.


	
	

	9
	Are COSH Safety data sheets saved in Intrastats and linked to stock part numbers where required. Use the stock on the above PO’s, in question 8. 


	
	


Sub Processes Linked to Audit 05

Review the below processes tasks and audits and ensure they are completed in a timely manner.
List Processes Per Title


 06/08/2024      Page 5 of 5

