	Internal Audit Check list

	CORRECTIVE ACTIONS

	Created:

	17/May 1995
	Audit No 14
	

	
	
	
	Page 1 of 5

	Audit Date
	
	Auditor
	


	Internal Audit Check list

	CORRECTIVE ACTIONS

	Created:

	17/May 1995
	Audit No 14
	

	Revised:
	07 August 2024
	
	Page 5 of 5

	Audit Date
	
	Auditor
	



	Company / ISO Section
	Criteria of ISO Section 
	Auditor Comments / Issues

	Viamed Ltd ISO13485:2016 7.2.3
	Communication
The organization shall plan and document arrangements for communicating with customers in relation to: 
a) product information; 
b) enquiries, contracts or order handling, including amendments; 
c) customer feedback, including complaints; 
d) advisory notices. 
The organization shall communicate with regulatory authorities in accordance with applicable 
regulatory requirements.
	

	Viamed Ltd ISO13485:2016 7.5.4
	Servicing activities
If servicing of the medical device is a specified requirement, the organization shall document servicing procedures, reference materials, and reference measurements, as necessary, for performing servicing activities and verifying that product requirements are met. 
The organization shall analyse records of servicing activities carried out by the organization or its supplier: 
a) to determine if the information is to be handled as a complaint; 
b) as appropriate, for input to the improvement process. 
Records of servicing activities carried out by the organization or its supplier shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.2.1
	Feedback
As one of the measurements of the effectiveness of the quality management system, the organization shall gather and monitor information relating to whether the organization has met customer requirements. The methods for obtaining and using this information shall be documented. 
The organization shall document procedures for the feedback process. This feedback process shall include provisions to gather data from production as well as post-production activities. 
The information gathered in the feedback process shall serve as potential input into risk management for monitoring and maintaining the product requirements as well as the product realization or improvement processes. 
If applicable regulatory requirements require the organization to gain specific experience from postproduction activities, the review of this experience shall form part of the feedback process.
	

	Viamed Ltd ISO13485:2016 8.2.2
	Complaint handling
The organization shall document procedures for timely complaint handling in accordance with 
applicable regulatory requirements. 
These procedures shall include at a minimum requirements and responsibilities for: 
a) receiving and recording information; 
b) evaluating information to determine if the feedback constitutes a complaint; 
c) investigating complaints; 
d) determining the need to report the information to the appropriate regulatory authorities; 
e) handling of complaint-related product; 
f) determining the need to initiate corrections or corrective actions. 
If any complaint is not investigated, justification shall be documented. Any correction or corrective action resulting from the complaint handling process shall be documented. 
If an investigation determines activities outside the organization contributed to the complaint, relevant information shall be exchanged between the organization and the external party involved. 
Complaint handling records shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.2.3
	Reporting to regulatory authorities
If applicable regulatory requirements require notification of complaints that meet specified reporting criteria of adverse events or issuance of advisory notices, the organization shall document procedures for providing notification to the appropriate regulatory authorities. 
Records of reporting to regulatory authorities shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.3.3
	Actions in response to nonconforming product detected after delivery
When nonconforming product is detected after delivery or use has started, the organization shall take action appropriate to the effects, or potential effects, of the nonconformity. Records of actions taken shall be maintained (see 4.2.5). 
The organization shall document procedures for issuing advisory notices in accordance with applicable regulatory requirements. These procedures shall be capable of being put into effect at any time. Records of actions relating to the issuance of advisory notices shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.5.2
	Corrective action
The organization shall take action to eliminate the cause of nonconformities in order to prevent recurrence. Any necessary corrective actions shall be taken without undue delay. Corrective actions shall be proportionate to the effects of the nonconformities encountered. 
The organization shall document a procedure to define requirements for: 
a) reviewing nonconformities (including complaints); 
b) determining the causes of nonconformities; 
c) evaluating the need for action to ensure that nonconformities do not recur; 
d) planning and documenting action needed and implementing such action, including, as appropriate, 
updating documentation; 
e) verifying that the corrective action does not adversely affect the ability to meet applicable regulatory requirements or the safety and performance of the medical device; 
f) reviewing the effectiveness of corrective action taken 
Records of the results of any investigation and action taken shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.5.3
	Preventive action
The organization shall determine action to eliminate the causes of potential nonconformities in order to prevent their occurrence. Preventive actions shall be proportionate to the effects of the potential problems. 
The organization shall document a procedure to describe requirements for: 
a) determining potential nonconformities and their causes; 
b) evaluating the need for action to prevent occurrence of nonconformities; 
c) planning and documenting action needed and implementing such action, including, as appropriate, updating documentation; 
d) verifying that the action does not adversely affect the ability to meet applicable regulatory requirements or the safety and performance of the medical device; 
e) reviewing the effectiveness of the preventive action taken, as appropriate. 
Records of the results of any investigations and of action taken shall be maintained (see 4.2.5).
	


	
	QUESTION:
	RESPONSE:
	Y/N

	1
	Review Last years Audit. Update processes if required. 

Are all follow on Issue resolved satisfactory.


	
	

	2
	Verify that all are reviewed regularly. This can be done by checking the management meeting minutes, issues.& actions. Task ID 728.

	
	

	3
	Check that customer complaints & non-conformities are reviewed regularly at management meetings


	Intrastats
	

	4
	Check that these reviews assess the cause of the non-conformities.


	Intrastats
	

	5
	Verify that action is taken to ensure that stated non-conformities do not recur.


	
	

	6
	Verify that records of these actions are retained.


	Intrastats
	

	7
	Check that corrective actions taken are reviewed. Task ID 283 and 285.

	Intrastats
	

	8
	Check that reviews are undertaken to assess potential cause of non-conformities. Task ID 284.


	Intrastats
	

	9
	Verify that the need for action to prevent these occurrences is evaluated.


	
	

	10
	Check that any action deemed necessary has been undertaken and records retained.


	
	

	11
	Check that preventive action taken is reviewed.


	
	

	12
	Check that the appropriate authority undertakes regular update reviews. i.e. management meeting minutes.


	
	

	13
	Verify that reviews are presented to the annual management review.


	
	

	14
	Are Customer complaints properly recorded Hard copy & Intrastats.


	
	

	15
	Is the complaint Index completed correctly Hard copy.


	
	

	16
	Is the complaint Report completed correctly Hard copy.


	
	

	17
	Has corrective action been taken and recorded 

	
	


Sub Processes Linked to Audit 14

Review the below processes tasks and audits and ensure they are completed in a timely manner.


List Processes Per Title
   07/08/2024      Page 1 of 5
 

Page 5 of 5

