	Job Description & Specification

	Project:   Microstim – DBS   -  Double Burst Stimulation

	Requested By
	Customers

	Name / Position
	

	Address
	

	Telephone No
	

	Origination Date
	

	

	

	
	
	
	
	

	
	
	Description
	Specification
	Changes

	1
	
	Intended use
	
	

	2
	
	General Specification
	
	

	
	10
	Height
	12cm
	

	
	11
	Width
	7cm
	

	
	12
	Depth
	2.5cm
	

	
	13
	Weight (with battery)
	0.2kg
	

	3
	
	Power Requirements
	
	

	
	10
	AC / DC
	DC
	

	
	11
	Voltage
	9V
	

	
	12
	Frequency
	0
	

	
	13
	Wattage normal
	Circuit Design Dictates
	

	
	14
	Wattage at switch mode
	
	

	
	15
	Wattage in sleep mode
	N/A
	

	
	20
	Battery specification
	Readily Available Worldwide
	

	
	21
	Battery life
	To be determined
	

	
	22
	Battery size
	5cm x 2.5cm x 1.5cm
	

	
	23
	Battery type
	PP3
	

	4
	
	Physical
	
	

	
	10
	Colour
	Not Vital
	

	
	11
	Material
	ABS Plastic
	

	
	12
	Visual acuity
	N/A
	

	
	13
	Mounting
	None
	

	5
	
	Environmental
	
	

	
	10
	Operating temperature
	Room Temperature
	

	
	11
	Storage temperature
	Room Temperature
	

	
	12
	Operating altitude
	N/A
	

	
	13
	Storage altitude
	N/A
	

	
	14
	Operating relative humidity
	N/A
	

	
	15
	Storage relative humidity
	N/A
	

	
	16
	Waterproofing, spill resistance
	
	

	
	17
	Cleaning and disinfecting
	Detergent
	

	
	
	
	
	

	QC 22


	Job Description & Specification

	Project:    Microstim – DBS   -  Double Burst Stimulation

	Requested By
	Customers

	Name / Position
	

	Address
	

	Telephone No
	

	Origination Date
	

	

	

	
	
	Description
	Specification
	Changes

	6
	
	Performance
	
	

	
	10
	Display
	None
	

	
	11
	Accuracy
	N/A
	

	
	12
	Resolution
	N/A
	

	
	13
	Usage continuous    Y / N
	N
	

	
	14
	Calibration
	N/A
	

	
	15
	User controls
	Switches
	

	
	16
	Stability
	Long-term – No degradation
	

	
	17
	Response time
	Immediate
	

	
	18
	External conditions affecting accuracy
	N/A
	

	
	19
	Alarms
	N/A
	

	7
	
	Accessories
	
	

	
	10
	
	
	

	8
	
	Standards Appropriate
	
	

	
	10
	IEC 606.01 EMC
	
	

	
	11
	IEC 606-02 EMC
	
	

	
	12
	IEC 601 Safety
	Clause 2.2.25 - BF
	

	
	13
	MDD
	Yes
	

	9
	
	Final Design Tests Required
	
	

	10
	
	Acceptance test Criteria
	Neon / Audio
	

	11
	
	Trial Requirements
	
	

	
	10
	In-house
	
	

	
	11
	External
	Operating Theatres
	

	12
	
	Maintenance
	None
	

	13
	
	Packaging
	
	

	
	10
	Impact resistance
	Will be dropped onto concrete from approx 1 metre
	

	
	11
	Vibration
	N/A
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	QC 22


Page 1





Page 2








