TOF 3D Technical Training - Competency Assessment Questions

Please refer to any system resources that you have access to in order to locate the information. The training materials will be made available on the system and will appear as required reading. If you are unable to find the information, please make notes at the end of this document detailing where you struggled.

1) What type of monitoring method does the TOF 3D use: subjective or quantitative?

2) How does the TOF 3D measure twitch response?

______________myography

3) Where is the most common place on the patient to measure twitch response?

4) What is the warranty period?

5) Does the TOF 3D or accessories contain any Latex?

6) Where can you find cleaning guidelines?

7) What is the name for the stimulation mode that delivers 4 short stimuli over a 2s period?

8) Which accessories are single-patient use: hand adapter / thumb adapter / eye adapter?

Notes or Comments:

Name: _____________________________ Date: _____________________