VANDAGRAPH

O2 Sensors

General Q.A.

VM3/COP/40.06

	Date: 1-Oct-03
	Revision Date: 15-Mar-06
	Issue: 1



	Sensor Types


R-17VAN
R-22BUD
R-22-2BUD
R-22D

R-22D-AP

R-33D

R-33D1
K-1D

R-22DHO


	Q.A. Procedure


1.0 Open the sealed bag as close to the seal as possible.

2.0 Check the sensor on the Test rig.

3.0 The readings should be within the minimum & maximum as stated by the manufacturer.

4.0 Remove the Divertor – where applicable.

5.0 Reseal the bag as near to the edge as possible – excluding as much air as possible.

6.0 Enter the output reading into the stock book, then sign and date the entry.

7.0 Pack and send out the sensors by the following methods.

a) R17VAN – Small Yellow Boxes

b) R22BUD – Bulk Packaging

c) Others  Teledyne Boxes

8.0 Transfer everything immediately to Vandagraph stock 










VM3COP_40.06 General QA_Sensors                                   Page 1 of 1

