VANDAGRAPH

          O2 Sensors

Teledyne R10DN, R10DS & R10DV

Oxygen Sensor Test Procedure

VM3/COP/40.32

	Date: 5-Nov-03
	Revision Date: 17-Jul-06
	Issue: 1



	Method


1. Open the packaging and remove the O2 sensor.

2. Check the O2 sensor for damage and signs of leaking electrolyte.

3. Check output   23mV-27mV
4. Re-label if appropriate.

5. Reseal in serial numbered packet, integrity seal the edge of the packet with initialed and dated sticker and re-box.

6. Ensure the O2 sensor is booked out in the stock books.









 VM3COP40.32 R10 Oxygen Sensor 060717         7/17/2006           Page 1 of 1

