	VANDAGRAPH
  COMPANY OPERATING PROCEDURE Oxygen Sensors

D-13 Sensor C Squared

VM3COP40.42

	Compatible to C-Squared   P/N 470019

	Date: 20-Jun-2006
	Revision Date: 17-May-07
	Issue: 1



	[image: image1.jpg]


[image: image2.jpg]Yellow +ve
| e

Orange -ve

Lock pips



[image: image3.jpg]




	Parts Required

	Quantity
	Description
	Part No.
	

	1
	R22D Sensor
	
	

	1
	White Box & Lid
	
	

	1
	White wire 5 cm
	
	

	1
	Black wire 5 cm
	
	

	1
	Packing Material
	
	

	1
	Round “Vandagraph” Label
	
	

	2
	Serial number Labels
	
	

	1
	Serial number Label for Outer bag
	
	

	1
	Polythene Bag (outer)
	
	


Procedure

1. Remove the rear of the sensor case VM3COP40.09

2. Remove the Molex VM3COP40.14x

3. Unsolder the three pins carefully

4. Remove solder from the holes

5. Add the wire to the outside holes and solder

6. The sensor PCD is marked Black & Red

7. Red is +ve Black is -ve

8. NB Colour is not important but Polarity to connector is.

9. Wired incorrectly monitor will read – before reading

10. White  ( or Yellow) is +ve    Black (or Orange) is -ve

[image: image4.jpg]



[image: image5.jpg]



VM3COP40.42 D-13 Sensor assembly 060717.doc       17/05/2007            Page 1 of 1

