	Internal Audit Check list

	Calibration

	Created:
	17/May 1995
	Audit No 6
	VM3/COP11

VOP11

	Revised:
	22 May 2007
	Last printed 02/06/2006 15:44
	Page 1 of 1

	Audit Date
	
	Auditor
	ISO 6.3     7.6



	Calibration register has been transferred to Intrastats.

Out of calibration test equipment automatically flags when it is requested for use.

	Verify the existence of a calibration register and planned matrix
	Intrastats
	N/A

	Is the register maintained
	
	

	Verify that equipment in use has a Identification number, serial number and calibration status sticker & Date sticker attached

Green Externally calibrated

Yellow Internally calibrated

Red Indication only      Not Calibrated
	
	

	Is equipment calibrated within its due period
	
	

	Does each item of equipment have a record card
	Intrastats
	

	Is record card updated correctly
	Intrastats
	

	Is equipment in the register; Check that the register is updated with this information.
	
	

	Verify that records show any measurements taken. And parameters stated.
	
	

	Is the register updated with this information
	Intrastats
	

	Check that external certificates of calibration are filed 


	
	

	Verify that where items failed calibration an assessment was undertaken to ascertain potential recall of product. 
	
	

	Are Calibrations traceable to NAMAS
	
	

	Are In-House calibration procedures listed in the Intrastats Document Index where required.


	
	

	
	
	


1492[1].doc


                       22/05/2007        Page 1 of 1

