Can J Anaesth. 1987 Sep;34(5):525-34. 

Clinical use of peripheral nerve stimulators in anaesthesia.
Hudes E1, Lee KC.
Author information
Abstract
The use of the peripheral nerve stimulator is essential for adequate assessment of the degree of neuromuscular block. To ensure that the data derived are accurate one must understand the effects of stimulus frequency, electrode type, position and polarity, stimulus intensity, duration, waveform and the various ways used to observe the data, electromechanical, EMG, tactile or visual. Once these features are understood, a better interpretation of the various tests is possible. While a lot of information regarding the proper use of the PNS is derived from meticulous scientific experimentation, it is possible to apply this information for clinical use. Most information is available based on ulnar nerve stimulation. Information on stimulation of other nerves (e.g., current to achieve SMS on the peroneal nerve) is lacking. With this in mind, the authors present in Table III the minimum requirements for a PNS and an algorithm to illustrate use of the PNS, in Figure 6.
PMID: 

3311435 

[PubMed - indexed for MEDLINE]
Anesthesiology. 1984 May;60(5):464-6 

Evaluation of peripheral nerve stimulators and relationship to possible errors in assessing neuromuscular blockade.
Mylrea KC, Hameroff SR, Calkins JM, Blitt CD, Humphrey LL.
Abstract
Voltage and current output characteristics were measured on six commercially available peripheral nerve stimulator devices. The results are evaluated as possible sources of variability in peripheral nerve stimulator function and neuromuscular blockade assessment. The authors found significant differences in output voltage waveform and in maximum current into a 470 ohm load (21.4 to 128 mA.). Output current decreased from 25 to 88% in the different devices, with a load impedance increase from 470 to 10,000 ohms. Due to the variability in peripheral nerve stimulation units and the decrease in current output at higher load impedance, less than supramaximal stimulation is possible with erroneous interpretation of neuromuscular blockade.
PMID: 

6324617 

[PubMed - indexed for MEDLINE]
Anaesth Intensive Care. 1988 Nov;16(4):464-72 

An evaluation of eight peripheral nerve stimulators for monitoring neuromuscular blockade.
Beemer GH1, Reeves JH.
Author information
Abstract
The features of eight commercially available peripheral nerve stimulators were compared with those evolved as ideal for monitoring neuromuscular blockade. The pulse waveforms were satisfactory except for that delivered by the CIG series 80 nerve/muscle stimulator. The error in timing of the stimulation patterns was up to 60% in the Professional Instruments NS-2C compared with 8% or less in the other devices. All of the stimulators had maximum current outputs suitable for monitoring with surface stimulating electrodes. The current delivered by the CIG series 80 nerve/muscle stimulator and the Stimlocator SL1.4 sagged by 21% and 25% respectively during a tetanus. The Digistim III, Bard Biomedical 750 digital and the Professional Instruments NS-2C had accurate digital readouts of delivered current.

Comment in
· Peripheral nerve stimulator. [Anaesth Intensive Care. 1989]
Anesth Analg. 1978 Jan-Feb;57(1):13-7 

A new nerve stimulator for monitoring neuromuscular blockade and performing nerve blocks.
Zeh DW, Katz RL.
Abstract
A new stimulator is described with characteristics designed to take advantage of recent knowledge of the pharmacology of neuromuscular relaxants and events involved in normal neuromuscular transmission. The stimulator has proven as useful in performance of peripheral nerve blocks as in monitoring neuromuscular blockade.
PMID: 

147039 

[PubMed - indexed for MEDLINE]
Anaesth Intensive Care. 1990 Nov;18(4):490-6 

Accurate monitoring of neuromuscular blockade using a peripheral nerve stimulator--a review.
Beemer GH1, Reeves JH, Bjorksten AR.
Author information
Abstract
For normal anaesthetic practice, monitoring of neuromuscular blockade is best performed by stimulation of the ulnar nerve at the wrist with a peripheral nerve stimulator and evaluation of the response of the thumb. Determination of the initial threshold for stimulation in the awake patient to allow estimation of the current required for supramaximal stimulation is an important set-up procedure to improve accuracy. The degree of paralysis of specific muscle groups such as the diaphragm can be inferred from their sensitivity to neuromuscular blocking agents relative to adductor pollicis. Monitoring with different stimulation patterns allows a wide spectrum of muscle paralyses to be evaluated.
PMID: 

2268016 

[PubMed - indexed for MEDLINE]
Similar articles for PubMed (Select 2268016)

Select item 22680161.
Accurate monitoring of neuromuscular blockade using a peripheral nerve stimulator--a review.
Beemer GH, Reeves JH, Bjorksten AR.

Anaesth Intensive Care. 1990 Nov;18(4):490-6. Review.
PMID: 

2268016
Similar articles
Select item 28275372.
Monitoring neuromuscular blockade with calf stimulators.
Beemer GH.

Anaesth Intensive Care. 1987 Nov;15(4):375-8.
PMID: 

2827537
Similar articles
Select item 63246173.
Evaluation of peripheral nerve stimulators and relationship to possible errors in assessing neuromuscular blockade.
Mylrea KC, Hameroff SR, Calkins JM, Blitt CD, Humphrey LL.

Anesthesiology. 1984 May;60(5):464-6.
PMID: 

6324617
Similar articles
Select item 88350514.
Technical and interpretive problems of peripheral nerve stimulation in monitoring neuromuscular blockade in the intensive care unit.
Rudis MI, Guslits BG, Zarowitz BJ.

Ann Pharmacother. 1996 Feb;30(2):165-72. Review.
PMID: 

8835051
Similar articles
Select item 128939915.
Management of pharmacologically induced neuromuscular blockade using peripheral nerve stimulation.
Loyola R, Dreher HM.

Dimens Crit Care Nurs. 2003 Jul-Aug;22(4):157-64; quiz 165-6. Review.
PMID: 

12893991
Similar articles
Select item 17506526.
Using a peripheral nerve stimulator as a nerve locator.
Blomfield D, Futter M.

Anaesth Intensive Care. 1991 Nov;19(4):608. No abstract available.
PMID: 

1750652
Similar articles
Select item 77494447.
Monitoring neuromuscular blockade in the adult ICU.
Ford EV.

Am J Crit Care. 1995 Mar;4(2):122-30; quiz 131-2. Review.
PMID: 

7749444
Similar articles
Select item 89279688.
[Value of monitoring muscle relaxation].
Jöhr M, Gerber H.

Schweiz Med Wochenschr. 1996 Sep 28;126(39):1649-53. Review. German.
PMID: 

8927968
Similar articles
Select item 1470399.
A new nerve stimulator for monitoring neuromuscular blockade and performing nerve blocks.
Zeh DW, Katz RL.

Anesth Analg. 1978 Jan-Feb;57(1):13-7.
PMID: 

147039
Similar articles
Select item 1048645310.
Monitoring neuromuscular blockade in the intensive care unit: the peripheral nerve stimulator.
Rowlee SC.

Heart Lung. 1999 Sep-Oct;28(5):352-62; quiz 363-4. Review.
PMID: 

10486453
Similar articles
Select item 914202011.
A prospective, randomized, controlled evaluation of peripheral nerve stimulation versus standard clinical dosing of neuromuscular blocking agents in critically ill patients.
Rudis MI, Sikora CA, Angus E, Peterson E, Popovich J Jr, Hyzy R, Zarowitz BJ.

Crit Care Med. 1997 Apr;25(4):575-83.
PMID: 

9142020
Similar articles
Select item 327388812.
An evaluation of eight peripheral nerve stimulators for monitoring neuromuscular blockade.
Beemer GH, Reeves JH.

Anaesth Intensive Care. 1988 Nov;16(4):464-72.
PMID: 

3273888
Similar articles
Select item 644570113.
[Testing of neuromuscular function during anaesthesia (author's transl)].
Chraemmer-Jørgensen B, Hicquet J, Howardy-Hansen P, Ording H, Viby-Mogensen J.

Anesth Analg (Paris). 1980;37(3-4):113-9. French.
PMID: 

6445701
Similar articles
Select item 771751714.
[Plethysmechanomyography (PMG). A simple method for monitoring muscle relaxation].
Pohlen G, Ribeiro FC, Scheiber G.

Anaesthesist. 1994 Dec;43(12):773-9. German.
PMID: 

7717517
Similar articles
Select item 892216115.
Use of peripheral nerve stimulators to monitor patients with neuromuscular blockade in the ICU.
Kleinpell R, Bedrosian C, McCormick L, Kremer M, Bujalski L, Bronsted R.

Am J Crit Care. 1996 Nov;5(6):449-54.
PMID: 

8922161
Similar articles
Select item 372902716.
Potency of pancuronium at the diaphragm and the adductor pollicis muscle in humans.
Donati F, Antzaka C, Bevan DR.

Anesthesiology. 1986 Jul;65(1):1-5.
PMID: 

3729027
Similar articles
Select item 1864963617.
[Neuromuscular monitoring].
Nitahara K, Sugi Y, Higa K.

Masui. 2008 Jul;57(7):824-30. Review. Japanese.
PMID: 

18649636
Similar articles
Select item 838518518.
The Relaxometer: a complete and comprehensive computer-controlled neuromuscular transmission measurement system developed for clinical research on muscle relaxants.
Rowaan CJ, Vandenbrom RH, Wierda JM.

J Clin Monit. 1993 Jan;9(1):38-44.
PMID: 

8385185
Similar articles
Select item 684688319.
The adductor pollicis monitor--apparatus and method for the quantitative measurement of the isometric contraction of the adductor pollicis muscle.
Stanec A, Stanec G.

Anesth Analg. 1983 Jun;62(6):602-5. No abstract available.
PMID: 

6846883
Similar articles
Select item 298358120.
The neuromuscular transmission monitor. A clinical assessment and comparison with a force transducer.
Windsor JP, Sebel PS, Flynn PJ.

Anaesthesia. 1985 Feb;40(2):146-51.
PMID: 

2983581
Similar articles
Similar articles for PubMed (Select 2268016)

Select item 627735421.
Clinical assessment of neuromuscular transmission.
Viby-Mogensen J.

Br J Anaesth. 1982 Feb;54(2):209-23. Review. No abstract available.
PMID: 

6277354
Similar articles
Select item 798858522.
Double burst stimulation with submaximal current.
Ueda N, Masuda Y, Muteki T, Harada H, Tsuda H, Tobata H.

Eur J Anaesthesiol. 1994 Sep;11(5):403-6.
PMID: 

7988585
Similar articles
Select item 1583224123.
[Effect of rocuronium on the diaphragm, musculus adductor pollicis and orbicularis oculi in two groups of different age].
Moerer O, Bittner J, Hinz J, Sydow M.

Anasthesiol Intensivmed Notfallmed Schmerzther. 2005 Apr;40(4):217-24. German.
PMID: 

15832241
Similar articles
Select item 379039724.
A constant current peripheral nerve stimulator (Neurostim T4). Description, and evaluation in volunteers.
Pollmaecher T, Steiert H, Buzello W.

Br J Anaesth. 1986 Dec;58(12):1443-6.
PMID: 

3790397
Similar articles
Select item 1922243525.
Monitoring neuromuscular block: an update.
Fuchs-Buder T, Schreiber JU, Meistelman C.

Anaesthesia. 2009 Mar;64 Suppl 1:82-9. doi: 10.1111/j.1365-2044.2008.05874.x. Review.
PMID: 

19222435
Similar articles
Select item 1840553926.
[Monitoring of neuromuscular blocking].
Chamorro C, Silva JA; Grupo de Trabajo de Analgesia y Sedación de la SEMICYUC.

Med Intensiva. 2008 Feb;32 Spec No. 1:53-8. Review. Spanish.
PMID: 

18405539 
Free Article
Similar articles
Select item 2301536627.
Muscle relaxant use during intraoperative neurophysiologic monitoring.
Sloan TB.

J Clin Monit Comput. 2013 Feb;27(1):35-46. doi: 10.1007/s10877-012-9399-0. Epub 2012 Sep 27. Review.
PMID: 

23015366
Similar articles
Select item 1098652528.
Agreement between muscle movement and peripheral nerve stimulation in critically ill pediatric patients receiving neuromuscular blocking agents.
Peña O, Prestjohn S, Guzzetta CE.

Heart Lung. 2000 Sep-Oct;29(5):309-18.
PMID: 

10986525
Similar articles
Select item 292999429.
Manual evaluation of residual curarization using double burst stimulation: a comparison with train-of-four.
Drenck NE, Ueda N, Olsen NV, Engbaek J, Jensen E, Skovgaard LT, Viby-Mogensen J.

Anesthesiology. 1989 Apr;70(4):578-81.
PMID: 

2929994
Similar articles
Select item 232817730.
Comparison of neuromuscular block in the diaphragm and hand after administration of tubocurarine, pancuronium and alcuronium.
Derrington MC, Hindocha N.

Br J Anaesth. 1990 Mar;64(3):294-9.
PMID: 

2328177
Similar articles
Select item 2415077531.
[Neuromuscular monitoring].
Mencke T, Schmartz D, Fuchs-Buder T.

Anaesthesist. 2013 Oct;62(10):847-61. doi: 10.1007/s00101-013-2244-0. Review. German.
PMID: 

24150775
Similar articles
Select item 707300732.
Electrode polarity and peripheral nerve stimulation.
Berger JJ, Gravenstein JS, Munson ES.

Anesthesiology. 1982 May;56(5):402-4. No abstract available.
PMID: 

7073007
Similar articles
Select item 85768933.
[On the monitoring of neuromuscular blockade during anaesthesia (author's transl)].
Schuh FT.

Anaesthesist. 1977 Mar;26(3):107-15. German.
PMID: 

857689
Similar articles
Select item 338203634.
Potency of succinylcholine at the diaphragm and at the adductor pollicis muscle.
Smith CE, Donati F, Bevan DR.

Anesth Analg. 1988 Jul;67(7):625-30.
PMID: 

3382036
Similar articles
Select item 800092835.
Monitoring and preventive care of the paralyzed patient in respiratory failure.
Dulin PG, Williams CJ.

Crit Care Clin. 1994 Oct;10(4):815-29.
PMID: 

8000928
Similar articles
Select item 748614036.
A method to improve clinical assessment of neuromuscular recovery.
Tammisto T, Wirtavuori K.

Anesth Analg. 1995 Dec;81(6):1319. No abstract available.
PMID: 

7486140
Similar articles
Select item 290287137.
Comparison of neuromuscular blockade in the diaphragm and the hand.
Derrington MC, Hindocha N.

Br J Anaesth. 1988 Sep;61(3):279-85.
PMID: 

2902871
Similar articles
Select item 921025338.
An evaluation of neuromuscular reversal with edrophonium in a patient with malathion intoxication.
Matsukawa S, Hashimoto Y, Kato M, Hoshi K, Satoh D, Horinouchi T, Satoh S, Saishu T.

Tohoku J Exp Med. 1997 Apr;181(4):467-9.
PMID: 

9210253 
Free Article
Similar articles
Select item 2042284839.
[Neuromuscular blockade monitoring. Part 1].
Ariño-Irujo JJ, Calbet-Mañueco A, De la Calle-Elguezabal PA, Velasco-Barrio JM, López-Timoneda F, Ortiz-Gómez JR, Fabregat-López J, Palacio-Abizanda FJ, Fornet-Ruiz I, Pérez-Cajaraville J.

Rev Esp Anestesiol Reanim. 2010 Mar;57(3):153-60. Review. Spanish.
PMID: 

20422848
Similar articles
Select item 1664546140.
Impact of hypothermia on the response to neuromuscular blocking drugs.
Heier T, Caldwell JE.

Anesthesiology. 2006 May;104(5):1070-80. Review.
PMID: 

16645461
Similar articles





















