[image: image1.jpg]


VIAMED

OXYGEN HOOD

Q.A. - Packing Checklist Procedure

VM3/COP/52.01

	Date: 29-Sep-03
	Revision Date:27-Mar-07
	Issue: 1



1. Unpack the Oxygen Hood from its original packing, and check that:

a. The product is the correct item

b. The product is the correct size:

i)
PP8000 Neonatal Oxygen Hood 
H = 150mm
W = 200mm
L = 165mm

ii)
PP8050 Paediatric Oxygen Hood
H = 185mm
W = 250mm
L = 240mm

iii)
PPBOGO Infant Oxygen Hood
H = 230mm
W = 300mm
L = 290mm


 Ensure CE mark label is attached to Headbox  rear panel and is incorporated on the User  Insert

2. Add the appropriate labels.
Headbox Pt. No


Label Pt.No.
PP8000



0195001
PP8020



0195001
PP9050



0195001
PP8055



0195001
PP8060



0195001
PP8065



0195000 
PP8715



0195000
PP9589



0195000

3. Add the insert leaflet  0490010

4. Check the product is clean  and repack.

5. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.

6. Accessories optional
PP1968

Connector 22mm to oxygen tubing
0120126

Connector 22mm O.D.  to 22mm male O.D.
1131050

Silicone curtain flap










VM3COP52.01_ Headbox Checklist.doc        27/03/2007        Page 1 of 1

