CO Monitors Competitive Matrix

	Manufacture

	Model
	PPM Range
	Displays
	Breath hold

Countdown

Time

	Environmental

CO Capture

In PPM
	Calibration
	Resolution
	D-Piece        Adapter

Sterilisation

	Configurable Traffic Light

Settings
	Warranty
	Batteries

	Bedfont


	PICO Simple
	0 – 100ppm
	PPM

%COHb
	15 seconds
	No
	MHRA  *
	1.0ppm
	No
	No
	5 years *
	2 x AA

	Bedfont
	PICO 

Baby
	0 – 100ppm
	PPM

%COHb

%FCOHb
	15 seconds
	No
	MHRA *
	1.0ppm
	No
	No
	5 years *
	2 x AA

	MD Diagnostics
	CO Check Pro
	0 – 100ppm
	PPM

%COHb

ECC


	Configurable

0 – 5 – 10 – 15 – 20 seconds
	Yes
	6 months
	0.1ppm
	Yes
	Yes
	5 years *
	1 x 9v

	MD Diagnostics
	CO Check Baby
	0 – 100ppm
	PPM

%COHb

%FCOHb

ECC 
	Configurable

0 – 5 – 10 – 15 – 20 seconds
	Yes
	6 months
	0.1ppm
	Yes
	Yes
	5 years*
	1 x 9v

	MD Diagnostics
	CO Check +
	0 – 100ppm
	PPM

%COHb

ECC 
	15 seconds
	Yes
	6 months
	0.1ppm
	Yes
	1. No
	5 years*
	1 x 9v

	MD Diagnostics
	CO Check + Baby
	0 – 100ppm
	PPM

%COHb

%FCOHb ECC
	10 seconds
	Yes
	6 months
	0.1ppm
	Yes
	No
	5 years *
	1 x 9v

	Care Fusion
	Micro CO 
	0 – 100ppm
	PPM

%COHb


	15 seconds
	No
	6 months
	1.0ppm
	Yes
	No
	13 Months
	1 x 9v

	Care Fusion
	Baby CO 
	0 – 100ppm
	PPM

%COHb

%FCOHb
	10 seconds
	No
	6 months
	1.0ppm
	Yes
	No
	13 Months
	1 x 9v

	Care Fusion
	Smoke Check
	0 – 100ppm
	PPM


	15 seconds
	No
	6 months
	1.0ppm
	Yes
	No
	13 Months
	1 x 9v


MHRA * = This device is being reviewed over calibration claims by UK Medicines & Healthcare Regulatory Agency (MHRA) 

5 Years * = Not applicable to all countries. ECC = Environmental CO capture in PPM – PPM = Parts per million 
